## SUMMARY
2014 Totals
Type | Building | Sq. ft. | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3) | Chilled Water | Oil (litres) | Roadlights Chargeback (kWh) | kWh/sqft | Steam (klbs/lb) / sqft | Water (m3) /sqft | Natural Gas / sqft | Chilled Water / sqft
Ancillary Buildings -->
Residence | Renfrew | 52680.3 | 225836 | 2370 | 3517 | 0 | 0 | 0 | 0 | 4.2869 | 0.044988 | 0.066761 | 0 | 0
| Lanark | 51469 | 187953 | 1506 | 3139 | 0 | 0 | 0 | 0 | 3.6518 | 0.02926 | 0.060988 | 0 | 0
| Russell-Grenville | 95952.63 | 555781 | 3474 | 16253 | 0 | 33859 | 0 | 0 | 5.7922 | 0.036205 | 0.16939 | 0 | 0.35287
| Glengarry | 154714.74 | 1659374 | 6298 | 33466 | 0 | 0 | 0 | 0 | 10.7254 | 0.040707 | 0.21631 | 0 | 0
| Stormont Dundas | 118191.6 | 784406 | 4300 | 13668 | 0 | 235 | 0 | 0 | 6.6367 | 0.036382 | 0.11564 | 0 | 0.0019883
| Leeds | 169138.85 | 1217030 | 0 | 27875 | 133885 | 0 | 0 | 0 | 7.1954 | 0 | 0.16481 | 0.79157 | 0
| Prescott | 135005.37 | 1095832 | 4113 | 14598 | 3346 | 0 | 0 | 0 | 8.117 | 0.030465 | 0.10813 | 0.024784 | 0
| Frontenac | 87997.84 | 653941 | 2697 | 7122 | 1451 | 0 | 0 | 0 | 7.4313 | 0.030648 | 0.080934 | 0.016489 | 0
| Lennox Addington | 174316.46 | 999759 | 14468 | 15445 | 4823 | 0 | 0 | 0 | 5.7353 | 0.082998 | 0.088603 | 0.027668 | 0
Housing Total |  | 1039466.79 | 7379912 | 39226 | 135083 | 143505 | 34094 | 0 | 0
Athletics | Gymnasium | 28159.31 | 184482 | 0 | 2726 | 55344 | 0 | 0 | 0 | 6.5514 | 0 | 0.096806 | 1.9654 | 0
| Athletics Pool | 12599 | 1455207 | 9293 | 29087 | 11385 | 0 | 0 | 0 | 115.5018 | 0.7376 | 2.3087 | 0.90364 | 0
| Field House | 47997.84 | 220812 | 0 | 653 | 38072 | 0 | 0 | 0 | 4.6005 | 0 | 0.013605 | 0.7932 | 0
| Alumni Hall | 37155.57 | 1142740 | 2567 | 2185 | 14996 | 0 | 0 | 0 | 30.7556 | 0.069088 | 0.058807 | 0.4036 | 0
| Ice House | 99913.88 | 2923803 | 0 | 13977 | 165762 | 0 | 0 | 0 | 29.2632 | 0 | 0.13989 | 1.659 | 0
| Tennis Bubble | 36006.46 | 334004 | 0 | 0 | 151971 | 0 | 0 | 0 | 9.2762 | 0 | 0 | 4.2207 | 0
Athletics Total |  | 261832.06 | 6261048 | 11860 | 48628 | 437530 | 0 | 0 | 0
Other Ancillary Buildings | OC Transpo | N/A | 24090 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | N/A
| Loeb Cafeteria | 7461.0123 | 99367 | 380 | 630 | 6388 | 0 | 0 | 0 | 13.3182 | 0.050931 | 0.084439 | 0.85618 | 0
| Commons (incl exp) | 89123 | 1926851 | 14084 | 20120 | 65989 | 134570 | 0 | -114095 | 21.6201 | 0.15803 | 0.22576 | 0.74043 | 1.5099
| Parking | 23862 | 197767 | 0 | 0 | 0 | 0 | 0 | 0 | 8.2879 | 0 | 0 | 0 | 0
| Daycare | 5662 | 67368 | 0 | 737 | 13955 | 0 | 0 | 0 | 11.8983 | 0 | 0.13017 | 2.4647 | 0
| CTTC | 68515 | 1168542 | 1987 | 6442 | 0 | 0 | 0 | 0 | 17.0553 | 0.029001 | 0.094023 | 0 | 0
| NWRC | 60000 | 2434697 | 3976 | 1664 | 0 | 0 | 0 | 0 | 40.5783 | 0.066267 | 0.027733 | 0 | 0
| HCI | 35348 | 367764 | 328 | 175 | 0 | 0 | 0 | 0 | 10.4041 | 0.0092792 | 0.0049508 | 0 | 0
Non-ancillary Buildings -->
Student Buildings | Tory | 138109.79 | 2755481 | 3895 | 23228 | 18641 | 0 | 0 | 0 | 19.9514 | 0.028202 | 0.16819 | 0.13497 | 0
| Macodrum | 268348.53 | 5162103 | 17150 | 21575 | 0 | 0 | 0 | 0 | 19.2366 | 0.063909 | 0.080399 | 0 | 0
| Paterson Hall | 79989.23 | 675287 | 3718 | 2192 | 0 | 0 | 0 | 0 | 8.4422 | 0.046481 | 0.027404 | 0 | 0
| Southam Hall | 99526.37 | 1131965 | 4685 | 3513 | 0 | 0 | 0 | 0 | 11.3735 | 0.047073 | 0.035297 | 0 | 0
| Mackenzie | 188094.71 | 3653450 | 10296 | 17538 | 33 | 0 | 0 | 0 | 19.4235 | 0.054738 | 0.09324 | 0.00017544 | 0
| Steacie | 107104.41 | 2958832 | 14698 | 15954 | 625 | 0 | 0 | 0 | 27.6257 | 0.13723 | 0.14896 | 0.0058354 | 0
| Herzberg | 152561.89 | 3014109 | 6378 | 4332 | 0 | 0 | 0 | 0 | 19.7566 | 0.041806 | 0.028395 | 0 | 0
| Loeb | 238374.58 | 3021770 | 9150 | 19823 | 0 | 0 | 0 | 0 | 12.6766 | 0.038385 | 0.083159 | 0 | 0
| Nesbitt | 68030.14 | 709768 | 7905 | 6500 | 0 | 0 | 0 | 0 | 10.4331 | 0.1162 | 0.095546 | 0 | 0
| Dunton Tower | 184876.2 | 1988666 | 26147 | 8751 | 0 | 0 | 0 | 0 | 10.7567 | 0.14143 | 0.047334 | 0 | 0
| Architecture | 92723.35 | 524976 | 1555 | 1956 | 3294 | 0 | 0 | 0 | 5.6617 | 0.01677 | 0.021095 | 0.035525 | 0
| St. Pats | 75489.77 | 1395127 | 3031 | 8063 | 45706 | 0 | 0 | 0 | 18.481 | 0.040151 | 0.10681 | 0.60546 | 0
| Social Science | 14370.29 | 137118 | 0 | 7749 | 23842 | 0 | 0 | 0 | 9.5418 | 0 | 0.53924 | 1.6591 | 0
| Life Science | 25296.02 | 1117269 | 4969 | 9029 | 0 | 0 | 0 | 0 | 44.1678 | 0.19643 | 0.35693 | 0 | 0
| Minto Case | 110624.32 | 3532294 | 3775 | 6750 | 0 | 0 | 0 | 0 | 31.9305 | 0.034125 | 0.061017 | 0 | 0
| Azrieli Theatre | 37782.56 | 392674 | 584 | 6 | 0 | 0 | 0 | 0 | 10.393 | 0.015457 | 0.0001588 | 0 | 0
| Azrieli Pavilion | 49515.61 | 819119 | 1112 | 621 | 0 | 0 | 0 | 0 | 16.5426 | 0.022458 | 0.012541 | 0 | 0
| Canal | 96609.25 | 1848301 | 3692 | 2487 | 0 | 0 | 0 | 0 | 19.1317 | 0.038216 | 0.025743 | 0 | 0
| River | 181593.1 | 1882785 | 5861 | 2503 | 0 | 0 | 0 | 0 | 10.3682 | 0.032275 | 0.013784 | 0 | 0
SB Total |  | 2209020.12 | 36721094 | 128601 | 162570 | 92141 | 0 | 0 | 0
Office Buildings | Maintenance | 47833 | 1284242 | 500 | 1373 | 0 | 0 | 0 | 0 | 26.8485 | 0.010453 | 0.028704 | 0 | 0
| Robertson Hall | 93207.74 | 2633726 | 3636 | 6453 | 0 | 0 | 0 | 0 | 28.2565 | 0.03901 | 0.069232 | 0 | 0
| HCI/VSIM | 97305 | 1458549 | 2174 | 1239 | 0 | 0 | 0 | 0 | 14.9895 | 0.022342 | 0.012733 | 0 | 0
Extras | Rooftops | N/A | 0 | 0 | 0 | 1355 | 0 | 0 | 0 | N/A | N/A | N/A | N/A | N/A
| Grouds Shed | 2411 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CHP | ? | 0 | 264422 | 19130 | 8867285 | 0 | 192991 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
2014 Campus Total |  | 4041046.7223 | 62025017 | 471174 | 404244 | 9628148 | 168664 | 192991 | -114095 | 15.3488 | 0.1166 | 0.10003 | 2.3826 | 0.041738
Note on C22: Author: 3.13% of Loeb building total: 238371
Note on B37: Author: .687

## GRAPHS_1
kWh
Building | 13/14 Fiscal | 14/15 Fiscal
Renfrew | 234967 | 217151
Lanark | 197233 | 183306
Russell-Grenville | 560634 | 554445
Glengarry | 1624116 | 1652058
Stormont Dundas | 840333 | 766749
Leeds | 1182218 | 1220900
Prescott | 1143643 | 1061075
Frontenac | 631809 | 656233
Lennox Addington | 1033144 | 1004429
kWh
Building | 13/14 Fiscal | 14/15 Fiscal
Tory | 2849530 | 2672813
Macodrum | 2773863 | 6351991
Paterson Hall | 700451 | 674035
Southam Hall | 1101646 | 1095429
Mackenzie | 3736409 | 3708478
Steacie | 3003183 | 2927947
Herzberg | 2959729 | 3060232
Loeb | 2877097 | 3108351
Nesbitt | 721765 | 701147
Dunton Tower | 1982776 | 1878647
Architecture | 545311 | 516072
St. Pats | 1531845 | 1393480
Social Science | 145477 | 137743
Life Science | 1144783 | 1127254
Minto Case | 3631402 | 3501972
Azrieli Theatre | 396858 | 400096
Azrieli Pavilion | 841928 | 858328
Canal | 1767248 | 1836490
River | 1900396 | 1902010

## GRAPHS_2
Year | Campus ft^2 | utilities ($) | with 1% reduction
2013 | 4041046.7223 | 88903027.8906 | 88094818.5461
2014 | 4041046.7223 | 96985121.3352 | 95368702.6463
2015 | 4141046.7223 | 107667214.7798 | 105182586.7464
2016 | 4241046.7223 | 118749308.2244 | 115356470.8466
2017 | 4341046.7223 | 130231401.669 | 125890354.9467
2018 | 4441046.7223 | 142113495.1136 | 136784239.0468
2019 | 4541046.7223 | 154395588.5582 | 148038123.147
2020 | 4641046.7223 | 167077682.0028 | 159652007.2471
gas rate increase | 3%

## GAS RATE
Rate 6 |  | Delivery Charges | [6 empty] | Charges
General |  | First | Next | Next | Next | Next | Over | Transportation | Gas
|  | 500 m3 | 1050 m3 | 4500 m3 | 7000 m3 | 15250 m3 | 28300 m3 | Charge | Supply*
MONTH | VOLUME | 0.084002 | 0.066674 | 0.05454 | 0.046743 | 0.04328 | 0.04241 | 0.062367 | 0.12207 | MONTHLY
| (m3) | 0.084002 | 0.066674 | 0.05454 | 0.046743 | 0.04328 | 0.04241 | 0.062367 | 0.12207 | BILL**
January | 1159801 | 42 | 70.01 | 245.43 | 327.2 | 660.02 | 47986.96 | 72333.31 | 141573.43 | 263308.35
February | 1316341 | 42 | 70.01 | 245.43 | 327.2 | 660.02 | 54625.82 | 82096.24 | 160681.8 | 298818.51
March | 1059718 | 42 | 70.01 | 245.43 | 327.2 | 660.02 | 43742.44 | 66091.43 | 129356.6 | 240605.13
April | 950911 | 42 | 70.01 | 245.43 | 327.2 | 660.02 | 39127.93 | 59305.47 | 116074.85 | 215922.91
May | 449564 | 42 | 70.01 | 245.43 | 327.2 | 660.02 | 17865.81 | 28037.96 | 54876.93 | 102195.35
June | 255461 | 42 | 70.01 | 245.43 | 327.2 | 660.02 | 9633.9 | 15932.34 | 31183.36 | 58164.25
July | 242062 | 42 | 70.01 | 245.43 | 327.2 | 660.02 | 9065.65 | 15096.68 | 29547.78 | 55124.77
August | 242374 | 42 | 70.01 | 245.43 | 327.2 | 660.02 | 9078.88 | 15116.14 | 29585.87 | 55195.54
September | 331691 | 42 | 70.01 | 245.43 | 327.2 | 660.02 | 12866.81 | 20686.57 | 40488.53 | 75456.57
October | 478855 | 42 | 70.01 | 245.43 | 327.2 | 660.02 | 19108.04 | 29864.75 | 58452.39 | 108839.84
November | 1006519 | 42 | 70.01 | 245.43 | 327.2 | 660.02 | 41486.27 | 62773.57 | 122862.75 | 228537.25
December | 1373988 | 42 | 70.01 | 245.43 | 327.2 | 660.02 | 57070.63 | 85691.51 | 167718.59 | 311895.39
TOTALS | 8867285 | 504.01 | 840.09 | 2945.16 | 3926.41 | 7920.24 | 361659.12 | 553025.96 | 1082402.88 | 2014063.88
Rate 100 |  | Delivery Charges |  |  |  | Charges
Firm Contract |  | First | Next | Over | Transportation | Contract | Load | Gas
|  | 14000 m3 | 28000 m3 | 42000 m3 | Charge | Demand | Balancing | Supply* |  |  | savings: | 270798.97
MONTH | VOLUME | 0.001563 | 0.001563 | 0.001563 | 0.062367 | 0.36 | 0.010433 | 0.12207 | MONTHLY
| (m3) | 0.001563 | 0.001563 | 0.001563 | 0.062367 | 0.36 | 0.010433 | 0.12207 | BILL**
January | 1159801 | 21.88 | 43.76 | 1747.12 | 72333.31 | 0 | 12100.2 | 141573.43 | 227941.72
February | 1316341 | 21.88 | 43.76 | 1991.79 | 82096.24 | 0 | 13733.39 | 160681.8 | 258690.87
March | 1059718 | 21.88 | 43.76 | 1590.69 | 66091.43 | 0 | 11056.04 | 129356.6 | 208282.42
April | 950911 | 21.88 | 43.76 | 1420.63 | 59305.47 | 0 | 9920.85 | 116074.85 | 186909.46
May | 449564 | 21.88 | 43.76 | 637.02 | 28037.96 | 0 | 4690.3 | 54876.93 | 88429.87
June | 255461 | 21.88 | 43.76 | 333.64 | 15932.34 | 0 | 2665.22 | 31183.36 | 50302.21
July | 242062 | 21.88 | 43.76 | 312.7 | 15096.68 | 0 | 2525.43 | 29547.78 | 47670.25
August | 242374 | 21.88 | 43.76 | 313.18 | 15116.14 | 0 | 2528.69 | 29585.87 | 47731.53
September | 331691 | 21.88 | 43.76 | 452.79 | 20686.57 | 0 | 3460.53 | 40488.53 | 65276.07
October | 478855 | 21.88 | 43.76 | 682.8 | 29864.75 | 0 | 4995.89 | 58452.39 | 94183.5
November | 1006519 | 21.88 | 43.76 | 1507.54 | 62773.57 | 0 | 10501.01 | 122862.75 | 197832.54
December | 1373988 | 21.88 | 43.76 | 2081.9 | 85691.51 | 0 | 14334.82 | 167718.59 | 270014.47
TOTALS | 8867285 | 262.58 | 525.17 | 13071.81 | 553025.96 | 0 | 92512.38 | 1082402.88 | 1743264.91

## Space inventory
SPACE INVENTORY BY BUILDING & FUNCTION
|  | Building |  |  | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | SM | Gross | Gross Sq. Feet
Code | Building Name | Use | Function | Year | 1959 | 1960 | 1962 | 1963 | 1964 | 1965 | 1966 | 1967 | 1968 | 1969 | 1971 | 1972 | 1973 | 1980 | 1985 | 1986 | 1889 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2008 | 2011 | 2013 | Sq. Metres
| (1) | (1a)
1/TB | Tory Building | Multi-Use & Academic and Research | Academic / Admin | 1959/1962/1966/1989/2004 | 10897 |  | 1032 |  |  |  | 273 | [9 empty] | 308 | [6 empty] | -653 |  |  |  |  | 973.4 | [5 empty] | 12830.4 | 138109.7872
2/ML | MacOdrum Library | Library | Academic | 1959/1963/ 1990/1991 /2013 | 1860 |  |  | 5311 | [13 empty] | 10432 | 1365 | [14 empty] | 5961.58 | 24929.58 | 268348.5307
2/ML | **Parking - MacOdrum Library |  | Ancillary | [18 empty] | 7851.1 | [16 empty] | 7851.1 | 84511.2974
3/PA | Paterson Hall | Academic | Academic | 1960/1962 |  | 5099 | 2332 | [31 empty] | 7431 | 79989.2309
4/SA | Southam Hall | Academic | Academic | 1962/1966/1990 |  |  | 4439 |  |  |  | 2958 | [10 empty] | 1849 | [16 empty] | 9246 | 99526.3665
5/RH | Renfrew House | Residence | Residence | 1962/2003 |  |  | 5075 | [24 empty] | -181 | [6 empty] | 4894 | 52680.2982
6/LH | Lanark House | Residence | Residence | 1962/2008 |  |  | 5030 | [28 empty] | -248.53 |  |  | 4781.47 | 51468.9958
7/UC | University Centre | Multi-Use | Ancillary / Academic / Admin | 1963/1989/2004 |  |  |  | 2694 |  |  |  | 9163 | [21 empty] | 4603.3 |  |  |  |  | 16460.3 | 177182.9818
8/GY | Gymnasium | Athletic Facility | Athletics | 1963 |  |  |  | 2403 |  |  | 734 | [22 empty] | -521 |  |  |  |  | 2616 | 28159.3094
9/AC | Physical Recreation Centre | Athletic Facility | Athletics | 1973/1980 | [12 empty] | 10453 | 1787 | [15 empty] | -609 |  |  |  |  | 11631 | 125199.1313
10/ME | Mackenzie Building | Academic and Research | Academic | 1964/1966/1968 |  |  |  |  | 8388 |  | 4945 |  | 4141 | [25 empty] | 17474 | 188094.7142
11/MB | Maintenance Building | Maintenance | Ancillary | 1964/1965/1968/2006/2013 |  |  |  |  | 950 |  | 2275 |  | 485 | [18 empty] | 362 |  |  | 249.9 |  |  | 121.85 | 4443.75 | 47833.6893
12/SC | Steacie Building | Academic and Research | Academic | 1965 | [5 empty] | 9950 | [28 empty] | 9950 | 107104.4069
13/HP | Herzberg Laboratories | Academic and Research | Academic | 1966/1985/1994 | [6 empty] | 8050 | [7 empty] | 1035 |  |  | 921 |  |  |  | 4167 | [12 empty] | 14173 | 152561.8853
14/GR | Grenville House | Residence | Residence | 1965 | [5 empty] | 4400 | [28 empty] | 4400 | 47362.7528
14/RU | Russell House | Residence | Residence | 1965 | [5 empty] | 4514 | [28 empty] | 4514 | 48589.8787
15/LA | Loeb Building | Academic | Academic | 1967 | [7 empty] | 22145 | [26 empty] | 22145 | 238374.582
16/NB | H.H.J. Nesbitt Biology Building | Academic and Research | Academic | 1968/2001/2004 | [8 empty] | 4878 | [16 empty] | 950 |  |  | 492 | [5 empty] | 6320 | 68030.1358
17/RO | Robertson Hall | Administration | Administrative | 1969 | [9 empty] | 8659 | [24 empty] | 8659 | 93207.7447
18/GH | Glengarry House | Residence | Residence | 1969 | [9 empty] | 14373 | [24 empty] | 14373 | 154714.7377
19/CO | Residence Commons | Residence | Ancillary | 1969 / 2011 | [9 empty] | 8280 | [22 empty] | 6967.5 |  | 15247.5 | 164128.0848
21/DT | Dunton Tower | Academic | Academic | 1971 | [10 empty] | 17175 | [23 empty] | 17175 | 184876.1999
22/AA | Architecture Building | Academic | Academic | 1972/1985 | [11 empty] | 6908 |  |  | 1706 | [19 empty] | 8614 | 92723.3529
23/SP | St. Patrick's Building | Academic | Academic | 1973/ | [12 empty] | 7013 | [21 empty] | 7013 | 75489.7694
24/SR | Social Sciences Research Building | Academic | Academic | 1986 | [15 empty] | 1335 | [18 empty] | 1335 | 14370.2898
25/LS | Life Sciences Research Building | Academic and Research | Academic | 1989 | [16 empty] | 2350 | [17 empty] | 2350 | 25296.0157
26/SD | Stormont-Dundas House | Residence | Residence | 1991 | [18 empty] | 10980 | [15 empty] | 10980 | 118191.5968
27/MC | Minto Centre | Academic | Academic | 1992/2000 | [19 empty] | 6937 |  |  |  |  | 3340 | [9 empty] | 10277 | 110624.3206
28/CC | Colonel By Child Care Centre | Multi-Use | Ancillary | 1993 | [20 empty] | 526 | [13 empty] | 526 | 5662.0018
29/CTTC | Carleton Technology and Training Centre | Administration | Ancillary | 1995 | [22 empty] | 6365 | [11 empty] | 6365 | 68514.5276
30/LE | Leeds House | Residence | Residence | 2001 | [25 empty] | 15713 | [8 empty] | 15713 | 169138.8488
31/AT | Azrieli Theatre |  | Academic | 2002 | [26 empty] | 3510 | [7 empty] | 3510 | 37782.5596
32/AP | Arieli Pavilion |  | Academic | 2002 | [26 empty] | 4600 | [7 empty] | 4600 | 49515.6052
33/NW | National Wildlife Research Centre |  | Ancillary / Academic | 2002 | [26 empty] | 5574 | [7 empty] | 5574 | 59999.9964
34/PH | Prescott House |  | Residence | 2003 | [27 empty] | 12542 | [6 empty] | 12542 | 135005.374
35/FH | Fieldhouse |  | Athletics | 2003 | [27 empty] | 4459 | [6 empty] | 4459 | 47997.8443
36/AH | Alumni Hall and Sports Centre |  | Athletics | 2005 / 2013 | [29 empty] | 3484 |  |  |  | 1138.2 | 4622.2 | 49754.5718
37/HC | Human Computer Interaction Bldg |  | Academic | 2006 | [30 empty] | 3284 |  |  |  | 3284 | 35349.8364
38/VS | Visualization & Simulation Building |  | Academic | 2006 | [30 empty] | 5756 |  |  |  | 5756 | 61959.0921
39/IH | Ice House |  | Athletics | 2005 | [29 empty] | 9282 |  |  |  |  | 9282 | 99913.8799
40/TC | Tennis Centre |  | Athletics | 2006 | [30 empty] | 3345 |  |  |  | 3345 | 36006.4564
41/FR | Frontenac House |  | Residence | 2008 | [31 empty] | 8175 |  |  | 8175 | 87997.8418
42 | Canal Building |  | Academic | 2011 | [32 empty] | 8975 |  | 8975 | 96609.2515
43 | River Building |  | Academic | 2011 | [32 empty] | 16870 |  | 16870 | 181593.0999
44 | Lennox - Addington Residence |  | Residence | 2011 | [32 empty] | 16194 |  | 16194 | 174316.46
45 | Grounds Building |  | Ancillary | 2003 | [27 empty] | 224 | [6 empty] | 224 | 2411.1947
72/SS | Substation |  | Ancillary | 1964/2004 |  |  |  |  | 100 | [23 empty] | 102 | [5 empty] | 202 | 2174.3809
FR | Fire Research |  | Academic | 2005 | [29 empty] | 1688.7 |  |  |  |  | 1688.7 | 18177.6092
PG | Parking Garage |  | Ancillary | 1969 | [9 empty] | 23862 | [24 empty] | 23862 | 256856.8198
T | Tunnels | Multi-Use | Ancillary | N/A | [19 empty] | 9799 | [8 empty] | 107 | 181 |  |  |  |  | 10087 | 108579.1108
TOTAL |  |  |  |  | 12757 | 5099 | 17908 | 10408 | 9438 | 18864 | 19235 | 31308 | 9504 | 55174 | 17175 | 6908 | 17466 | 1787 | 2741 | 1335 | 2658 | 21053.1 | 12345 | 16736 | 526 | 4167 | 6365 | -653 | 3340 | 16663 | 13684 | 17406 | 1674.4 | 18109 | 12634.9 | 7926.47 | 49006.5 | 7221.63 | 447970 | 4822066.4493
| Athletics |  | total | [36 empty] | 387031.1931

## Renfrew
Renfrew House
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 16015 | 0 | 35
2013-06-01 | 14362 | 0 | 7
2013-07-01 | 17018 | 0 | 16
2013-08-01 | 15697 | 0 | 27
2013-09-01 | 19119 | 13 | 285
2013-10-01 | 20298 | 147 | 223
2013-11-01 | 22696 | 265 | 264
2013-12-01 | 22547 | 375 | 481
2014-01-01 | 24235 | 458 | 694
2014-02-01 | 21278 | 398 | 685
2014-03-01 | 21000 | 400 | 650
2014-04-01 | 20702 | 235 | 651
2014-05-01 | 12648 | 100 | 3
2014-06-01 | 14362 | 0 | 7
2014-07-01 | 11739 | 0 | 1
2014-08-01 | 13021 | 0 | 10
2014-09-01 | 21148 | 12 | 221
2014-10-01 | 21045 | 148 | 176
2014-11-01 | 22329 | 244 | 134
2014-12-01 | 22329 | 375 | 285
2015-01-01 | 20732 | 648 | 823
2015-02-01 | 20091 | 610 | 350
2015-03-01 | 22804 | 531 | 350
2015-04-01 | 14903 | 288 | 637
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 225836 | 2370 | 3517 | 0
13/14 Fisc. | 234967 | 2291 | 4018 | 0
14/15 Fisc. | 217151 | 2956 | 2997 | 0
Note on C23: Author: changed value from 1,567 to 375

## Lanark
Lanark House
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 11230 | 1 | 35
2013-06-01 | 9417 | 0 | 1
2013-07-01 | 9530 | 0 | 3
2013-08-01 | 9193 | 0 | 19
2013-09-01 | 19462 | 1 | 529
2013-10-01 | 19634 | 31 | 463
2013-11-01 | 20539 | 204 | 540
2013-12-01 | 18738 | 277 | 306
2014-01-01 | 21639 | 343 | 436
2014-02-01 | 19810 | 300 | 384
2014-03-01 | 19820 | 300 | 400
2014-04-01 | 18221 | 133 | 432
2014-05-01 | 8112 | 17 | 8
2014-06-01 | 9417 | 0 | 1
2014-07-01 | 6764 | 0 | 1
2014-08-01 | 8312 | 0 | 17
2014-09-01 | 19034 | 0 | 418
2014-10-01 | 17680 | 20 | 336
2014-11-01 | 20381 | 153 | 423
2014-12-01 | 18763 | 240 | 283
2015-01-01 | 21761 | 356 | 397
2015-02-01 | 19044 | 342 | 310
2015-03-01 | 20642 | 266 | 400
2015-04-01 | 13396 | 85 | 268
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 187953 | 1506 | 3139 | 0
13/14 Fisc. | 197233 | 1590 | 3548 | 0
14/15 Fisc. | 183306 | 1479 | 2862 | 0

## Russell-Grenville
Russell-Grenville House
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3) | Chilled Water (m3)
2013-05-01 | 30390 | 100 | 379 |  | 9476
2013-06-01 | 29191 | 148 | 142 |  | 13348
2013-07-01 | 36440 | 59 | 407 |  | 16607
2013-08-01 | 35235 | 60 | 50 |  | 13427
2013-09-01 | 53174 | 50 | 880 |  | 5770
2013-10-01 | 41017 | 543 | 1085 |  | 1474
2013-11-01 | 58602 | 400 | 1669 |  | 0
2013-12-01 | 58982 | 450 | 2108 |  | 0
2014-01-01 | 61841 | 1000 | 2288 |  | 0
2014-02-01 | 53088 | 607 | 2026 |  | 0
2014-03-01 | 53088 | 267 | 2026 |  | 0
2014-04-01 | 49586 | 400 | 2155 |  | 0
2014-05-01 | 32439 | 18 | 1514 |  | 4590
2014-06-01 | 23295 | 148 | 142 |  | 5849
2014-07-01 | 34448 | 1 | 359 |  | 9899
2014-08-01 | 33367 | 0 | 882 |  | 7622
2014-09-01 | 50222 | 50 | 2258 |  | 5770
2014-10-01 | 53106 | 30 | 982 |  | 129
2014-11-01 | 57107 | 400 | 957 |  | 0
2014-12-01 | 54194 | 553 | 664 |  | 0
2015-01-01 | 60344 | 801 | 932 |  | 0
2015-02-01 | 54693 | 900 | 802 |  | 0
2015-03-01 | 60520 | 267 | 1039 |  | 0
2015-04-01 | 40710 | 200 | 673 |  | 0
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 555781 | 3474 | 16253 | 0 | 33859
13/14 Fisc. | 560634 | 4084 | 15215 | 0 | 60102
14/15 Fisc. | 554445 | 3368 | 11204 | 0 | 33859

## Glengarry
Glengarry House
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 99361 | 168 | 2609
2013-06-01 | 151197 | 147 | 3493
2013-07-01 | 225140 | 118 | 4183
2013-08-01 | 215734 | 131 | 3975
2013-09-01 | 140198 | 142 | 4344
2013-10-01 | 122264 | 285 | 4452
2013-11-01 | 117335 | 700 | 4743
2013-12-01 | 116047 | 797 | 4779
2014-01-01 | 114837 | 751 | 5266
2014-02-01 | 107025 | 687 | 3314
2014-03-01 | 107025 | 687 | 3314
2014-04-01 | 107953 | 561 | 2916
2014-05-01 | 117954 | 201 | 1625
2014-06-01 | 151197 | 169 | 3493
2014-07-01 | 209815 | 192 | 2274
2014-08-01 | 217898 | 181 | 2340
2014-09-01 | 171042 | 144 | 2777
2014-10-01 | 122196 | 825 | 2104
2014-11-01 | 118103 | 700 | 2328
2014-12-01 | 114329 | 1200 | 1715
2015-01-01 | 119798 | 1021 | 2196
2015-02-01 | 105091 | 690 | 1863
2015-03-01 | 119425 | 687 | 2460
2015-04-01 | 85210 | 490 | 1625
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 1659374 | 6298 | 33466 | 0
13/14 Fisc. | 1624116 | 5174 | 47388 | 0
14/15 Fisc. | 1652058 | 6500 | 26800 | 0

## Stormont Dundas
Stormont Dundas House
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3) | Chilled Water (m3)
2013-05-01 | 53629 | 0 | 266 |  | 1637
2013-06-01 | 48092 | 0 | 260 |  | 1895
2013-07-01 | 52879 | 0 | 350 |  | 322
2013-08-01 | 58254 | 0 | 260 |  | 1795
2013-09-01 | 77051 | 0 | 1413 |  | 1667
2013-10-01 | 78157 | 0 | 2714 |  | 96
2013-11-01 | 81425 | 500 | 411 |  | 0
2013-12-01 | 80280 | 550 | 1477 |  | 0
2014-01-01 | 86538 | 900 | 1692 |  | 0
2014-02-01 | 75245 | 700 | 974 |  | 0
2014-03-01 | 75245 | 900 | 974 |  | 0
2014-04-01 | 73538 | 300 | 2953 |  | 0
2014-05-01 | 51820 | 0 | 1090 |  | 0
2014-06-01 | 32823 | 0 | 260 |  | 0
2014-07-01 | 39003 | 0 | 1093 |  | 0
2014-08-01 | 43894 | 11 | 1027 |  | 94
2014-09-01 | 77159 | 0 | 710 |  | 104
2014-10-01 | 72309 | 57 | 1057 |  | 37
2014-11-01 | 80710 | 786 | 411 |  | 0
2014-12-01 | 76122 | 646 | 1427 |  | 0
2015-01-01 | 82458 | 885 | 1685 |  | 0
2015-02-01 | 72216 | 834 | 975 |  | 0
2015-03-01 | 82689 | 724 | 974 |  | 0
2015-04-01 | 55546 | 362 | 945 |  | 0
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 784406 | 4300 | 13668 | 0 | 235
13/14 Fisc. | 840333 | 3850 | 13744 | 0 | 7412
14/15 Fisc. | 766749 | 4305 | 11654 | 0 | 235

## Leeds
Leeds House
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 75596 |  | 1559 | 1627
2013-06-01 | 95650 |  | 1823 | 1779
2013-07-01 | 119447 |  | 1389 | 1114
2013-08-01 | 105907 |  | 1308 | 1626
2013-09-01 | 103039 |  | 2801 | 1626
2013-10-01 | 100542 |  | 2729 | 6848
2013-11-01 | 101342 |  | 2889 | 19669
2013-12-01 | 99744 |  | 2463 | 22302
2014-01-01 | 103944 |  | 2902 | 26713
2014-02-01 | 93092 |  | 2458 | 23898
2014-03-01 | 93092 |  | 2458 | 17985
2014-04-01 | 90823 |  | 2546 | 9888
2014-05-01 | 88184 |  | 1977 | 1163
2014-06-01 | 88127 |  | 1823 | 2002
2014-07-01 | 115623 |  | 1770 | 1179
2014-08-01 | 112402 |  | 1308 | 702
2014-09-01 | 118383 |  | 2656 | 3366
2014-10-01 | 107970 |  | 2729 | 3241
2014-11-01 | 105137 |  | 2889 | 18242
2014-12-01 | 100253 |  | 2359 | 25506
2015-01-01 | 106192 |  | 2500 | 34297
2015-02-01 | 97174 |  | 2458 | 27878
2015-03-01 | 106696 |  | 2458 | 17985
2015-04-01 | 74759 |  | 2123 | 9716
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 1217030 | 0 | 27875 | 133885
13/14 Fisc. | 1182218 | 0 | 27325 | 135075
14/15 Fisc. | 1220900 | 0 | 27050 | 145277

## Prescott
Prescott House
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 73897 | 5 | 226 | 31
2013-06-01 | 87737 | 4 | 173 | 0
2013-07-01 | 116667 | 9 | 322 | 89
2013-08-01 | 108429 | 6 | 148 | 231
2013-09-01 | 102470 | 23 | 1667 | 231
2013-10-01 | 94890 | 149 | 1435 | 419
2013-11-01 | 93189 | 489 | 1791 | 474
2013-12-01 | 94800 | 667 | 1449 | 325
2014-01-01 | 100132 | 869 | 1896 | 434
2014-02-01 | 90327 | 757 | 1722 | 354
2014-03-01 | 90200 | 750 | 1700 | 485
2014-04-01 | 90905 | 308 | 1830 | 317
2014-05-01 | 77461 | 47 | 262 | 1
2014-06-01 | 73554 | 7 | 241 | 26
2014-07-01 | 105229 | 6 | 367 | 94
2014-08-01 | 100333 | 5 | 344 | 11
2014-09-01 | 105202 | 22 | 1766 | 454
2014-10-01 | 86433 | 248 | 1445 | 405
2014-11-01 | 88646 | 441 | 1778 | 445
2014-12-01 | 87410 | 653 | 1247 | 320
2015-01-01 | 93305 | 931 | 1780 | 331
2015-02-01 | 84706 | 887 | 1503 | 388
2015-03-01 | 94425 | 653 | 2045 | 485
2015-04-01 | 64371 | 224 | 1306 | 263
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 1095832 | 4113 | 14598 | 3346
13/14 Fisc. | 1143643 | 4036 | 14359 | 3390
14/15 Fisc. | 1061075 | 4124 | 14084 | 3223

## Frontenac
Frontenac House
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 39170 | 1 | 101 | 4
2013-06-01 | 47145 | 1 | 49 | 4
2013-07-01 | 63861 | 1 | 75 | 11
2013-08-01 | 60738 | 0 | 56 | 101
2013-09-01 | 59170 | 12 | 850 | 101
2013-10-01 | 55065 | 56 | 774 | 210
2013-11-01 | 52205 | 277 | 1210 | 175
2013-12-01 | 49328 | 487 | 496 | 63
2014-01-01 | 54262 | 715 | 735 | 121
2014-02-01 | 50335 | 592 | 657 | 184
2014-03-01 | 50300 | 600 | 650 | 59
2014-04-01 | 50230 | 281 | 735 | 142
2014-05-01 | 48489 | 5 | 114 | 14
2014-06-01 | 47145 | 1 | 296 | 85
2014-07-01 | 62034 | 1 | 70 | 41
2014-08-01 | 59995 | 1 | 193 | 38
2014-09-01 | 62770 | 2 | 1433 | 222
2014-10-01 | 54635 | 18 | 923 | 197
2014-11-01 | 57470 | 204 | 780 | 172
2014-12-01 | 56276 | 277 | 536 | 176
2015-01-01 | 57981 | 687 | 750 | 175
2015-02-01 | 50841 | 660 | 651 | 109
2015-03-01 | 57719 | 233 | 831 | 59
2015-04-01 | 40878 | 41 | 516 | 129
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 653941 | 2697 | 7122 | 1451
13/14 Fisc. | 631809 | 3023 | 6388 | 1175
14/15 Fisc. | 656233 | 2130 | 7093 | 1417

## Lennox Addington
Lennox Addington House
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 62738 | 500 | 393 | 3
2013-06-01 | 79062 | 200 | 135 | 3
2013-07-01 | 92032 | 0 | 42 | 5
2013-08-01 | 90917 | 0 | 99 | 363
2013-09-01 | 120985 | 0 | 2173 | 363
2013-10-01 | 96061 | 781 | 1923 | 674
2013-11-01 | 90426 | 828 | 2047 | 767
2013-12-01 | 84375 | 1038 | 1820 | 455
2014-01-01 | 85854 | 1128 | 1929 | 593
2014-02-01 | 78292 | 927 | 1740 | 613
2014-03-01 | 78292 | 927 | 1740 | 651
2014-04-01 | 74110 | 480 | 1713 | 524
2014-05-01 | 56860 | 1944 | 188 | 3
2014-06-01 | 63726 | 1619 | 116 | 8
2014-07-01 | 81313 | 2544 | 67 | 9
2014-08-01 | 95056 | 2404 | 220 | 2
2014-09-01 | 124098 | 675 | 2385 | 649
2014-10-01 | 95682 | 176 | 1814 | 633
2014-11-01 | 86006 | 639 | 2067 | 582
2014-12-01 | 80470 | 1005 | 1466 | 556
2015-01-01 | 88856 | 1352 | 1967 | 573
2015-02-01 | 79303 | 1391 | 1735 | 561
2015-03-01 | 89761 | 1055 | 2296 | 651
2015-04-01 | 63298 | 396 | 1475 | 392
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 999759 | 14468 | 15445 | 4823
13/14 Fisc. | 1033144 | 6809 | 15754 | 5014
14/15 Fisc. | 1004429 | 15200 | 15796 | 4619

## Gymnasium
Gymnasium
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 16588 |  | 189 | 2825
2013-06-01 | 16844 |  | 211 | 2695
2013-07-01 | 19117 |  | 567 | 2535
2013-08-01 | 17096 |  | 333 | 2993
2013-09-01 | 14932 |  | 252 | 2993
2013-10-01 | 18140 |  | 181 | 3770
2013-11-01 | 18727 |  | 181 | 5579
2013-12-01 | 18946 |  | 142 | 6377
2014-01-01 | 18560 |  | 178 | 8455
2014-02-01 | 15744 |  | 157 | 7761
2014-03-01 | 16400 |  | 174 | 6647
2014-04-01 | 12916 |  | 164 | 5037
2014-05-01 | 12999 |  | 161 | 3574
2014-06-01 | 11531 |  | 139 | 2223
2014-07-01 | 16185 |  | 534 | 2236
2014-08-01 | 16949 |  | 418 | 2372
2014-09-01 | 16068 |  | 298 | 2519
2014-10-01 | 16218 |  | 218 | 3071
2014-11-01 | 16091 |  | 160 | 5220
2014-12-01 | 14821 |  | 125 | 6229
2015-01-01 | 15642 |  | 113 | 7459
2015-02-01 | 14226 |  | 107 | 8026
2015-03-01 | 15228 |  | 119 | 5464
2015-04-01 | 10070 |  | 37 | 3205
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 184482 | 0 | 2726 | 55344
13/14 Fisc. | 204010 | 0 | 2729 | 57667
14/15 Fisc. | 176028 | 0 | 2429 | 51598

## Athletics Pool
Athletics Pool
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 133336 | 583 | 2616 | 614
2013-06-01 | 139765 | 278 | 2778 | 383
2013-07-01 | 143586 | 96 | 2775 | 463
2013-08-01 | 143313 | 126 | 2807 | 674
2013-09-01 | 140311 | 464 | 2304 | 674
2013-10-01 | 130373 | 720 | 2286 | 957
2013-11-01 | 123698 | 1281 | 2325 | 1356
2013-12-01 | 114078 | 1459 | 1832 | 1528
2014-01-01 | 129656 | 1534 | 2406 | 1827
2014-02-01 | 119635 | 1328 | 2004 | 1216
2014-03-01 | 131472 | 1425 | 2700 | 950
2014-04-01 | 107373 | 859 | 2800 | 851
2014-05-01 | 122449 | 620 | 2854 | 465
2014-06-01 | 139765 | 176 | 1622 | 511
2014-07-01 | 125629 | 173 | 2666 | 385
2014-08-01 | 125821 | 211 | 2260 | 620
2014-09-01 | 118595 | 210 | 2506 | 1008
2014-10-01 | 115991 | 576 | 2594 | 922
2014-11-01 | 113051 | 834 | 2607 | 1305
2014-12-01 | 105770 | 1347 | 2068 | 1325
2015-01-01 | 115136 | 1444 | 2597 | 717
2015-02-01 | 107517 | 1402 | 2373 | 3406
2015-03-01 | 128455 | 1091 | 2450 | 1442
2015-04-01 | 70200 | 383 | 966 | 542
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 1455207 | 9293 | 29087 | 11385
13/14 Fisc. | 1556596 | 10153 | 29633 | 11493
14/15 Fisc. | 1388379 | 8467 | 27563 | 12648

## Field House
Field House
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 22988 |  | 99 | 2367
2013-06-01 | 16528 |  | 62 | 3512
2013-07-01 | 16100 |  | 66 | 1696
2013-08-01 | 16500 |  | 75 | 0
2013-09-01 | 18000 |  | 40 | 0
2013-10-01 | 17390 |  | 47 | 1419
2013-11-01 | 22265 |  | 38 | 5899
2013-12-01 | 23803 |  | 42 | 12531
2014-01-01 | 32442 |  | 46 | 15698
2014-02-01 | 21073 |  | 38 | 6990
2014-03-01 | 16361 |  | 61 | 2700
2014-04-01 | 12505 |  | 54 | 4836
2014-05-01 | 10382 |  | 83 | 0
2014-06-01 | 14931 |  | 63 | 11
2014-07-01 | 15186 |  | 66 | 0
2014-08-01 | 16193 |  | 75 | 0
2014-09-01 | 15467 |  | 40 | 120
2014-10-01 | 19965 |  | 47 | 100
2014-11-01 | 20937 |  | 38 | 2772
2014-12-01 | 25370 |  | 42 | 4845
2015-01-01 | 26129 |  | 45 | 5756
2015-02-01 | 25115 |  | 38 | 8426
2015-03-01 | 33635 |  | 60 | 11472
2015-04-01 | 23601 |  | 45 | 5419
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 220812 | 0 | 653 | 38072
13/14 Fisc. | 235955 | 0 | 668 | 57648
14/15 Fisc. | 246911 | 0 | 642 | 38921

## Alumni Hall
Alumni Hall
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 62705 | 69 | 66 | 0
2013-06-01 | 116792 | 70 | 104 | 0
2013-07-01 | 100000 | 80 | 175 | 0
2013-08-01 | 99926 | 81 | 224 | 0
2013-09-01 | 95063 | 87 | 226 | 9
2013-10-01 | 87451 | 85 | 230 | 135
2013-11-01 | 104135 | 85 | 167 | 1868
2013-12-01 | 100815 | 418 | 112 | 2601
2014-01-01 | 107372 | 500 | 206 | 3799
2014-02-01 | 99285 | 524 | 185 | 4498
2014-03-01 | 107433 | 558 | 202 | 2211
2014-04-01 | 102593 | 402 | 156 | 368
2014-05-01 | 63654 | 157 | 132 | 74
2014-06-01 | 101603 | 50 | 201 | 30
2014-07-01 | 113212 | 0 | 150 | 14
2014-08-01 | 118326 | 0 | 193 | 41
2014-09-01 | 101116 | 0 | 252 | 23
2014-10-01 | 78740 | 85 | 229 | 69
2014-11-01 | 80324 | 119 | 167 | 1364
2014-12-01 | 69082 | 172 | 112 | 2505
2015-01-01 | 84677 | 324 | 187 | 3993
2015-02-01 | 101768 | 319 | 185 | 5070
2015-03-01 | 113026 | 174 | 200 | 1957
2015-04-01 | 81783 | 174 | 136 | 349
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 1142740 | 2567 | 2185 | 14996
13/14 Fisc. | 1183570 | 2959 | 2053 | 15489
14/15 Fisc. | 1107311 | 1574 | 2144 | 15489

## Ice House
Ice House
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 225190 |  | 981 | 8474
2013-06-01 | 222900 |  | 1011 | 8084
2013-07-01 | 263192 |  | 3414 | 2461
2013-08-01 | 254783 |  | 1149 | 8980
2013-09-01 | 249382 |  | 1308 | 8980
2013-10-01 | 256155 |  | 1362 | 11310
2013-11-01 | 246000 |  | 1369 | 16734
2013-12-01 | 241918 |  | 1138 | 19131
2014-01-01 | 268711 |  | 1358 | 25367
2014-02-01 | 243698 |  | 1190 | 23283
2014-03-01 | 269501 |  | 1274 | 19941
2014-04-01 | 235931 |  | 1093 | 15110
2014-05-01 | 215060 |  | 875 | 10722
2014-06-01 | 188889 |  | 827 | 6402
2014-07-01 | 253778 |  | 1170 | 6707
2014-08-01 | 251424 |  | 1080 | 7115
2014-09-01 | 252810 |  | 1276 | 7557
2014-10-01 | 255036 |  | 1350 | 9212
2014-11-01 | 249667 |  | 1361 | 15660
2014-12-01 | 239298 |  | 1123 | 18686
2015-01-01 | 259643 |  | 1197 | 22376
2015-02-01 | 235444 |  | 1039 | 24078
2015-03-01 | 265066 |  | 1152 | 16391
2015-04-01 | 173779 |  | 794 | 9615
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 2923803 | 0 | 13977 | 165762
13/14 Fisc. | 2977361 | 0 | 16647 | 167855
14/15 Fisc. | 2839894 | 0 | 13244 | 154521

## Tennis Bubble
Tennis Bubble
Month | kWh | Natural Gas (m3)
2013-05-01 | 35263 | 7749
2013-06-01 | 18518 | 4191
2013-07-01 | 19700 | 1956
2013-08-01 | 26356 | 6043
2013-09-01 | 26356 | 6043
2013-10-01 | 31031 | 12194
2013-11-01 | 28693 | 24957
2013-12-01 | 25399 | 25794
2014-01-01 | 25522 | 36347
2014-02-01 | 28099 | 26759
2014-03-01 | 26251 | 20595
2014-04-01 | 25052 | 6362
2014-05-01 | 51859 | 996
2014-06-01 | 25240 | 0
2014-07-01 | 18249 | 0
2014-08-01 | 22667 | 0
2014-09-01 | 21035 | 0
2014-10-01 | 35924 | 7395
2014-11-01 | 24445 | 21819
2014-12-01 | 29661 | 31698
2015-01-01 | 23734 | 37198
2015-02-01 | 29453 | 40267
2015-03-01 | 26684 | 29928
2015-04-01 | 23349 | 9693
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 334004 | 151971
13/14 Fisc. | 316240 | 178990
14/15 Fisc. | 332300 | 178994

## OC Transpo
OC Transpo
Month | kWh
2013-05-01 | 2198
2013-06-01 | 1644
2013-07-01 | 1646
2013-08-01 | 1735
2013-09-01 | 1882
2013-10-01 | 2293
2013-11-01 | 2577
2013-12-01 | 2588
2014-01-01 | 2514
2014-02-01 | 2087
2014-03-01 | 2041
2014-04-01 | 1780
2014-05-01 | 1667
2014-06-01 | 1203
2014-07-01 | 1672
2014-08-01 | 1844
2014-09-01 | 1979
2014-10-01 | 2341
2014-11-01 | 2210
2014-12-01 | 2752
2015-01-01 | 2152
2015-02-01 | 1134
2015-03-01 | 1292
2015-04-01 | 1042
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 24090
13/14 Fisc. | 24985
14/15 Fisc. | 21288

## Loeb Cafe
Loeb Cafe
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 10558 | 4 | 55 | 479
2013-06-01 | 11844 | 0 | 63 | 444
2013-07-01 | 14761 | 1 | 91 | 482
2013-08-01 | 13618 | 0 | 80 | 656
2013-09-01 | 10546 | 1 | 67 | 656
2013-10-01 | 9584 | 9 | 61 | 848
2013-11-01 | 8103 | 41 | 46 | 897
2013-12-01 | 8219 | 82 | 39 | 496
2014-01-01 | 8533 | 89 | 47 | 845
2014-02-01 | 7943 | 79 | 42 | 760
2014-03-01 | 8671 | 72 | 50 | 835
2014-04-01 | 7806 | 60 | 39 | 579
2014-05-01 | 8366 | 1 | 48 | 217
2014-06-01 | 7722 | 0 | 47 | 6
2014-07-01 | 12035 | 0 | 83 | 0
2014-08-01 | 5981 | 0 | 72 | 12
2014-09-01 | 8000 | 0 | 39 | 856
2014-10-01 | 9584 | 9 | 61 | 848
2014-11-01 | 8103 | 41 | 46 | 895
2014-12-01 | 6623 | 29 | 56 | 535
2015-01-01 | 8101 | 54 | 53 | 806
2015-02-01 | 7304 | 50 | 43 | 844
2015-03-01 | 8194 | 33 | 50 | 912
2015-04-01 | 5964 | 9 | 40 | 526
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 99367 | 380 | 630 | 6388
13/14 Fisc. | 120186 | 438 | 680 | 7977
14/15 Fisc. | 95977 | 226 | 638 | 6457

## Commons
Commons
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3) | Chilled Water (m3) | Roadlights Chargeback (kWh)
2013-05-01 | 141394 | 232 | 1159 | 3169 | 4912 | -7273
2013-06-01 | 143500 | 177 | 1277 | 3963 | 22986 | -7061
2013-07-01 | 154369 | 137 | 1551 | 4488 | 47343 | -7063
2013-08-01 | 151929 | 124 | 1300 | 6036 | 41354 | -8448
2013-09-01 | 165559 | 185 | 1910 | 6036 | 11848 | -9060
2013-10-01 | 163919 | 328 | 1605 | 7401 | 2839 | -10886
2013-11-01 | 158953 | 1048 | 1625 | 8309 | 0 | -10803
2013-12-01 | 152802 | 1196 | 1297 | 5011 | 0 | -13586
2014-01-01 | 154445 | 1148 | 1402 | 6516 | 0 | -13588
2014-02-01 | 148664 | 1060 | 1430 | 6935 | 0 | -10488
2014-03-01 | 169619 | 1258 | 1804 | 7021 | 0 | -8622
2014-04-01 | 152074 | 841 | 1583 | 5505 | 0 | -8622
2014-05-01 | 151155 | 461 | 998 | 1259 | 7402 | -7286
2014-06-01 | 123602 | 641 | 1125 | 5279 | 22816 | -7074
2014-07-01 | 173531 | 519 | 1607 | 3857 | 44762 | -7077
2014-08-01 | 173797 | 540 | 1583 | 3598 | 45783 | -8448
2014-09-01 | 179742 | 906 | 2025 | 7743 | 11848 | -9060
2014-10-01 | 173157 | 2010 | 1869 | 6284 | 1959 | -10905
2014-11-01 | 167648 | 2200 | 2289 | 6784 | 0 | -9339
2014-12-01 | 159417 | 2500 | 2405 | 5208 | 0 | -13586
2015-01-01 | 169857 | 2400 | 2095 | 5259 | 0 | -13289
2015-02-01 | 154452 | 1700 | 1788 | 7038 | 0 | -10487
2015-03-01 | 174200 | 1107 | 2104 | 7067 | 0 | -9441
2015-04-01 | 124266 | 694 | 1507 | 5271 | 0 | -8675
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 1926851 | 14084 | 20120 | 65989 | 134570 | -114095
13/14 Fisc. | 1857227 | 7734 | 17943 | 70390 | 131282 | -115500
14/15 Fisc. | 1924824 | 15678 | 21395 | 64647 | 134570 | -114667

## Parking
Parking
Month | kWh
2013-05-01 | 12753
2013-06-01 | 9802
2013-07-01 | 8435
2013-08-01 | 8767
2013-09-01 | 10959
2013-10-01 | 14880
2013-11-01 | 21129
2013-12-01 | 26645
2014-01-01 | 24069
2014-02-01 | 20049
2014-03-01 | 26965
2014-04-01 | 20593
2014-05-01 | 14201
2014-06-01 | 7633
2014-07-01 | 8135
2014-08-01 | 8889
2014-09-01 | 10151
2014-10-01 | 13918
2014-11-01 | 17607
2014-12-01 | 25557
2015-01-01 | 28508
2015-02-01 | 26256
2015-03-01 | 24333
2015-04-01 | 15068
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 197767
13/14 Fisc. | 205046
14/15 Fisc. | 200256

## Daycare
Daycare
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 5482 |  | 80 | 452
2013-06-01 | 5734 |  | 79 | 284
2013-07-01 | 9086 |  | 93 | 241
2013-08-01 | 7032 |  | 151 | 313
2013-09-01 | 5596 |  | 79 | 313
2013-10-01 | 5207 |  | 75 | 719
2013-11-01 | 5126 |  | 65 | 1606
2013-12-01 | 5279 |  | 51 | 1833
2014-01-01 | 5974 |  | 74 | 2507
2014-02-01 | 5321 |  | 58 | 2304
2014-03-01 | 5448 |  | 59 | 1898
2014-04-01 | 4749 |  | 62 | 1032
2014-05-01 | 5672 |  | 69 | 446
2014-06-01 | 5691 |  | 59 | 270
2014-07-01 | 6557 |  | 73 | 262
2014-08-01 | 6675 |  | 63 | 279
2014-09-01 | 5396 |  | 70 | 392
2014-10-01 | 5224 |  | 75 | 688
2014-11-01 | 5104 |  | 35 | 1559
2014-12-01 | 5557 |  | 40 | 2318
2015-01-01 | 6610 |  | 35 | 2785
2015-02-01 | 5794 |  | 32 | 3559
2015-03-01 | 5205 |  | 63 | 1948
2015-04-01 | 3584 |  | 40 | 958
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 67368 | 0 | 737 | 13955
13/14 Fisc. | 70034 | 0 | 926 | 13502
14/15 Fisc. | 67069 | 0 | 654 | 15464

## CTTC
CTTC
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 130674 | 104 | 394
2013-06-01 | 121082 | 68 | 466
2013-07-01 | 130333 | 13 | 968
2013-08-01 | 111310 | 0 | 557
2013-09-01 | 96836 | 0 | 620
2013-10-01 | 96120 | 49 | 588
2013-11-01 | 95282 | 242 | 369
2013-12-01 | 121722 | 505 | 429
2014-01-01 | 97306 | 439 | 397
2014-02-01 | 94091 | 380 | 413
2014-03-01 | 104045 | 359 | 418
2014-04-01 | 97520 | 178 | 348
2014-05-01 | 102940 | 26 | 487
2014-06-01 | 78503 | 0 | 372
2014-07-01 | 111841 | 13 | 604
2014-08-01 | 106559 | 0 | 530
2014-09-01 | 96120 | 0 | 458
2014-10-01 | 96378 | 32 | 1384
2014-11-01 | 89168 | 243 | 764
2014-12-01 | 94071 | 317 | 267
2015-01-01 | 94173 | 446 | 361
2015-02-01 | 89619 | 469 | 275
2015-03-01 | 100707 | 307 | 320
2015-04-01 | 76907 | 142 | 282
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 1168542 | 1987 | 6442 | 0
13/14 Fisc. | 1296321 | 2337 | 5967 | 0
14/15 Fisc. | 1136986 | 1995 | 6104 | 0

## NWRC
NWRC
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 206845 | 74 | 92
2013-06-01 | 232834 | 29 | 257
2013-07-01 | 289822 | 22 | 112
2013-08-01 | 265695 | 45 | 83
2013-09-01 | 213370 | 80 | 91
2013-10-01 | 194132 | 172 | 114
2013-11-01 | 191461 | 464 | 104
2013-12-01 | 190343 | 757 | 100
2014-01-01 | 197009 | 811 | 123
2014-02-01 | 173467 | 662 | 110
2014-03-01 | 194518 | 748 | 200
2014-04-01 | 176533 | 232 | 138
2014-05-01 | 197522 | 209 | 164
2014-06-01 | 189814 | 8 | 137
2014-07-01 | 270332 | 13 | 137
2014-08-01 | 257042 | 11 | 93
2014-09-01 | 210289 | 50 | 105
2014-10-01 | 190565 | 105 | 114
2014-11-01 | 189209 | 398 | 122
2014-12-01 | 188397 | 729 | 221
2015-01-01 | 187082 | 1017 | 228
2015-02-01 | 170008 | 998 | 205
2015-03-01 | 186032 | 677 | 218
2015-04-01 | 137414 | 335 | 190
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 2434697 | 3976 | 1664 | 0
13/14 Fisc. | 2526029 | 4096 | 1524 | 0
14/15 Fisc. | 2373706 | 4550 | 1934 | 0

## HCI
HCI
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 28629 | 0 | 8.06
2013-06-01 | 33852 | 0.14 | 21.71
2013-07-01 | 39343 | 0.08 | 34.84
2013-08-01 | 38384 | 0.01 | 37.57
2013-09-01 | 30214 | 0.02 | 13.78
2013-10-01 | 29281 | 13 | 10
2013-11-01 | 27929 | 39 | 6
2013-12-01 | 27267 | 61 | 4
2014-01-01 | 28174 | 62 | 6
2014-02-01 | 25564 | 49 | 12
2014-03-01 | 28266 | 56 | 11
2014-04-01 | 27565 | 35 | 6
2014-05-01 | 35118 | 7 | 17
2014-06-01 | 28771 | 0 | 18
2014-07-01 | 40638 | 0 | 29
2014-08-01 | 36411 | 0 | 30
2014-09-01 | 31919 | 0 | 30
2014-10-01 | 32097 | 14 | 6
2014-11-01 | 27356 | 48 | 7
2014-12-01 | 25885 | 57 | 3
2015-01-01 | 28174 | 62 | 6
2015-02-01 | 25564 | 49 | 12
2015-03-01 | 28266 | 56 | 11
2015-04-01 | 27565 | 35 | 6
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 367764 | 328 | 175 | 0
13/14 Fisc. | 364468 | 315.25 | 170.96 | 0
14/15 Fisc. | 367764 | 328 | 175 | 0

## Tory
Tory
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 251705 | 1 | 2315 | 166
2013-06-01 | 279145 | 0 | 2232 | 100
2013-07-01 | 352296 | 0 | 2322 | 11
2013-08-01 | 323528 | 0 | 2320 | 94
2013-09-01 | 263682 | 0 | 2227 | 94
2013-10-01 | 228212 | 197 | 2277 | 703
2013-11-01 | 193608 | 699 | 2227 | 3138
2013-12-01 | 197011 | 936 | 2200 | 4517
2014-01-01 | 199113 | 579 | 2288 | 4871
2014-02-01 | 178225 | 476 | 2068 | 3866
2014-03-01 | 192876 | 533 | 2290 | 1790
2014-04-01 | 190129 | 394 | 2228 | 1713
2014-05-01 | 251705 | 0 | 1355 | 186
2014-06-01 | 279145 | 0 | 1736 | 20
2014-07-01 | 352296 | 0 | 1529 | 11
2014-08-01 | 323528 | 0 | 2308 | 9
2014-09-01 | 263682 | 0 | 2232 | 154
2014-10-01 | 228212 | 197 | 1875 | 771
2014-11-01 | 193608 | 699 | 2227 | 2141
2014-12-01 | 102962 | 1017 | 1092 | 3109
2015-01-01 | 180719 | 579 | 1950 | 4805
2015-02-01 | 165326 | 476 | 2068 | 5887
2015-03-01 | 172174 | 533 | 2290 | 3281
2015-04-01 | 159456 | 394 | 2228 | 1088
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 2755481 | 3895 | 23228 | 18641
13/14 Fisc. | 2849530 | 3815 | 26994 | 21063
14/15 Fisc. | 2672813 | 3895 | 22890 | 21462

## Macodrum
Macodrum
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 226175 | 87 | 3595
2013-06-01 | 265268 | 39 | 1827
2013-07-01 | 309198 | 58 | 1661
2013-08-01 | 284173 | 66 | 1238
2013-09-01 | 236277 | 577 | 2107
2013-10-01 | 213342 | 1331 | 1867
2013-11-01 | 209943 | 1899 | 1466
2013-12-01 | 219375 | 2102 | 1519
2014-01-01 | 218518 | 1786 | 1474
2014-02-01 | 195718 | 1372 | 1663
2014-03-01 | 191858 | 785 | 1638
2014-04-01 | 204018 | 834 | 1803
2014-05-01 | 508969 | 951 | 2021
2014-06-01 | 551521 | 591 | 2784
2014-07-01 | 583471 | 586 | 2037
2014-08-01 | 562871 | 289 | 1305
2014-09-01 | 521756 | 673 | 2458
2014-10-01 | 541200 | 901 | 1674
2014-11-01 | 558716 | 2486 | 1331
2014-12-01 | 523487 | 5896 | 1387
2015-01-01 | 500000 | 6086 | 1391
2015-02-01 | 500000 | 5525 | 1268
2015-03-01 | 500000 | 5975 | 1403
2015-04-01 | 500000 | 4533 | 1361
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 5162103 | 17150 | 21575 | 0
13/14 Fisc. | 2773863 | 10936 | 21858 | 0
14/15 Fisc. | 6351991 | 34492 | 20420 | 0

## Paterson Hall
Paterson Hall
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 52446 | 272 | 123
2013-06-01 | 51815 | 299 | 110
2013-07-01 | 54343 | 410 | 116
2013-08-01 | 50548 | 338 | 98
2013-09-01 | 55281 | 247 | 265
2013-10-01 | 58881 | 349 | 256
2013-11-01 | 66372 | 814 | 285
2013-12-01 | 65371 | 681 | 152
2014-01-01 | 66562 | 258 | 231
2014-02-01 | 57981 | 167 | 196
2014-03-01 | 62488 | 837 | 261
2014-04-01 | 58363 | 505 | 199
2014-05-01 | 50725 | 60 | 124
2014-06-01 | 45808 | 52 | 112
2014-07-01 | 44614 | 21 | 139
2014-08-01 | 47040 | 22 | 81
2014-09-01 | 57737 | 20 | 245
2014-10-01 | 60761 | 349 | 224
2014-11-01 | 62925 | 814 | 239
2014-12-01 | 60283 | 613 | 141
2015-01-01 | 64991 | 1261 | 347
2015-02-01 | 59707 | 1228 | 263
2015-03-01 | 65060 | 856 | 312
2015-04-01 | 54384 | 311 | 215
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 675287 | 3718 | 2192 | 0
13/14 Fisc. | 700451 | 5177 | 2292 | 0
14/15 Fisc. | 674035 | 5607 | 2442 | 0

## Southam
Southam Hall
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 89953 | 47 | 239
2013-06-01 | 74300 | 0 | 88
2013-07-01 | 55861 | 0 | 126
2013-08-01 | 56633 | 0 | 195
2013-09-01 | 87350 | 91 | 560
2013-10-01 | 126059 | 43 | 462
2013-11-01 | 117873 | 541 | 379
2013-12-01 | 95187 | 899 | 163
2014-01-01 | 102015 | 1091 | 468
2014-02-01 | 91317 | 1118 | 282
2014-03-01 | 108007 | 775 | 436
2014-04-01 | 97091 | 347 | 300
2014-05-01 | 82604 | 13 | 156
2014-06-01 | 91998 | 16 | 104
2014-07-01 | 82084 | 13 | 110
2014-08-01 | 89806 | 4 | 96
2014-09-01 | 99896 | 100 | 557
2014-10-01 | 104553 | 96 | 462
2014-11-01 | 93478 | 488 | 379
2014-12-01 | 89116 | 624 | 163
2015-01-01 | 92993 | 949 | 468
2015-02-01 | 86677 | 967 | 282
2015-03-01 | 95971 | 607 | 342
2015-04-01 | 86253 | 281 | 163
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 1131965 | 4685 | 3513 | 0
13/14 Fisc. | 1101646 | 4952 | 3698 | 0
14/15 Fisc. | 1095429 | 4158 | 3282 | 0

## Mackenzie
Mackenzie
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 369772 | 317 | 2386 | 0
2013-06-01 | 281181 | 78 | 2180 | 0
2013-07-01 | 271708 | 66 | 2612 | 0
2013-08-01 | 263671 | 66 | 1760 | 2
2013-09-01 | 266737 | 200 | 1559 | 2
2013-10-01 | 289700 | 450 | 1187 | 5
2013-11-01 | 331234 | 1363 | 650 | 2
2013-12-01 | 322184 | 1688 | 756 | 1
2014-01-01 | 335933 | 1836 | 1255 | 3
2014-02-01 | 313009 | 1680 | 1240 | 3
2014-03-01 | 352476 | 1425 | 964 | 11
2014-04-01 | 338804 | 1011 | 1229 | 0
2014-05-01 | 281556 | 614 | 2386 | 2
2014-06-01 | 259773 | 134 | 2180 | 1
2014-07-01 | 251743 | 16 | 2612 | 1
2014-08-01 | 250330 | 4 | 1760 | 1
2014-09-01 | 262577 | 200 | 1559 | 3
2014-10-01 | 302955 | 325 | 1187 | 2
2014-11-01 | 352084 | 1363 | 410 | 5
2014-12-01 | 352210 | 1688 | 756 | 1
2015-01-01 | 363217 | 1836 | 410 | 0
2015-02-01 | 322426 | 1680 | 1240 | 1
2015-03-01 | 371010 | 1425 | 964 | 5
2015-04-01 | 338597 | 1011 | 1229 | 2
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 3653450 | 10296 | 17538 | 33
13/14 Fisc. | 3736409 | 10180 | 17778 | 29
14/15 Fisc. | 3708478 | 10296 | 16693 | 24

## Steacie
Steacie
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 261980 | 304 | 1386 | 7
2013-06-01 | 256275 | 139 | 1791 | 7
2013-07-01 | 267699 | 73 | 2830 | 4
2013-08-01 | 259205 | 30 | 2348 | 24
2013-09-01 | 254960 | 387 | 1547 | 24
2013-10-01 | 260390 | 222 | 1410 | 35
2013-11-01 | 246713 | 489 | 1025 | 35
2013-12-01 | 235057 | 1719 | 993 | 27
2014-01-01 | 242319 | 4240 | 1330 | 50
2014-02-01 | 228849 | 3689 | 1109 | 218
2014-03-01 | 249721 | 3063 | 1058 | 22
2014-04-01 | 240015 | 1662 | 859 | 21
2014-05-01 | 257374 | 0 | 1266 | 40
2014-06-01 | 253365 | 0 | 2006 | 40
2014-07-01 | 268924 | 1 | 2048 | 39
2014-08-01 | 263472 | 1 | 1677 | 36
2014-09-01 | 249333 | 387 | 1511 | 44
2014-10-01 | 241228 | 222 | 1169 | 82
2014-11-01 | 230490 | 489 | 1079 | 18
2014-12-01 | 233742 | 944 | 842 | 15
2015-01-01 | 239705 | 1168 | 1264 | 16
2015-02-01 | 219384 | 4292 | 1202 | 17
2015-03-01 | 240903 | 3142 | 1242 | 16
2015-04-01 | 230027 | 1373 | 890 | 17
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 2958832 | 14698 | 15954 | 625
13/14 Fisc. | 3003183 | 16017 | 17686 | 474
14/15 Fisc. | 2927947 | 12019 | 16196 | 380
Note on C20: Author: changed from 19045

## Herzberg
Herzberg
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 257638 | 189 | 220
2013-06-01 | 240320 | 84 | 214
2013-07-01 | 251906 | 18 | 307
2013-08-01 | 253088 | 75 | 246
2013-09-01 | 241431 | 40 | 311
2013-10-01 | 255531 | 333 | 340
2013-11-01 | 263243 | 1083 | 353
2013-12-01 | 231842 | 1364 | 186
2014-01-01 | 238468 | 1091 | 464
2014-02-01 | 230323 | 1173 | 291
2014-03-01 | 253906 | 996 | 347
2014-04-01 | 242033 | 699 | 309
2014-05-01 | 255381 | 219 | 480
2014-06-01 | 248179 | 8 | 380
2014-07-01 | 257424 | 4 | 334
2014-08-01 | 252174 | 2 | 431
2014-09-01 | 254706 | 40 | 388
2014-10-01 | 262029 | 212 | 322
2014-11-01 | 263679 | 836 | 336
2014-12-01 | 255807 | 1098 | 250
2015-01-01 | 259898 | 1359 | 265
2015-02-01 | 241526 | 1296 | 252
2015-03-01 | 252227 | 1017 | 138
2015-04-01 | 257202 | 660 | 309
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 3014109 | 6378 | 4332 | 0
13/14 Fisc. | 2959729 | 7145 | 3588 | 0
14/15 Fisc. | 3060232 | 6751 | 3885 | 0
Note on C20: Author: changed from 7303

## Loeb
Loeb
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 231744 | 90 | 1208
2013-06-01 | 259952 | 7 | 1393
2013-07-01 | 323980 | 31 | 1994
2013-08-01 | 298910 | 11 | 1751
2013-09-01 | 231471 | 15 | 1467
2013-10-01 | 210358 | 188 | 1332
2013-11-01 | 177849 | 898 | 1017
2013-12-01 | 262598 | 1794 | 853
2014-01-01 | 187301 | 1965 | 1040
2014-02-01 | 174343 | 1735 | 936
2014-03-01 | 270449 | 1391 | 1465
2014-04-01 | 248142 | 1953 | 1422
2014-05-01 | 258621 | 31 | 1497
2014-06-01 | 325096 | 10 | 2004
2014-07-01 | 372457 | 10 | 2557
2014-08-01 | 185104 | 6 | 2227
2014-09-01 | 326385 | 21 | 2068
2014-10-01 | 296614 | 264 | 1878
2014-11-01 | 172282 | 870 | 985
2014-12-01 | 204976 | 894 | 1744
2015-01-01 | 250731 | 1663 | 1647
2015-02-01 | 226062 | 1541 | 907
2015-03-01 | 253581 | 1020 | 1054
2015-04-01 | 236442 | 716 | 1222
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 3021770 | 9150 | 19823 | 0
13/14 Fisc. | 2877097 | 10078 | 15878 | 0
14/15 Fisc. | 3108351 | 7046 | 19790 | 0

## Nesbitt
Nesbitt
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 61062 | 436 | 536
2013-06-01 | 58022 | 240 | 623
2013-07-01 | 71380 | 256 | 804
2013-08-01 | 67645 | 288 | 663
2013-09-01 | 64669 | 507 | 847
2013-10-01 | 62169 | 697 | 1244
2013-11-01 | 58952 | 1077 | 579
2013-12-01 | 53346 | 1409 | 513
2014-01-01 | 55609 | 1551 | 491
2014-02-01 | 49430 | 1259 | 436
2014-03-01 | 60990 | 1004 | 515
2014-04-01 | 58491 | 791 | 502
2014-05-01 | 59603 | 360 | 498
2014-06-01 | 65366 | 116 | 501
2014-07-01 | 71996 | 135 | 563
2014-08-01 | 63324 | 124 | 512
2014-09-01 | 59835 | 272 | 712
2014-10-01 | 57613 | 467 | 835
2014-11-01 | 54902 | 760 | 479
2014-12-01 | 52609 | 1066 | 456
2015-01-01 | 56416 | 1461 | 521
2015-02-01 | 52091 | 1366 | 489
2015-03-01 | 55905 | 1054 | 520
2015-04-01 | 51487 | 665 | 476
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 709768 | 7905 | 6500 | 0
13/14 Fisc. | 721765 | 9515 | 7753 | 0
14/15 Fisc. | 701147 | 7846 | 6562 | 0

## Dunton
Dunton Tower
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 143344 | 1 | 1427
2013-06-01 | 158712 | 0 | 1133
2013-07-01 | 182969 | 0 | 853
2013-08-01 | 181580 | 0 | 1835
2013-09-01 | 156321 | 0 | 964
2013-10-01 | 133759 | 101 | 195
2013-11-01 | 139814 | 557 | 514
2013-12-01 | 188040 | 1563 | 495
2014-01-01 | 188484 | 1617 | 37
2014-02-01 | 219514 | 1746 | 105
2014-03-01 | 152507 | 779 | 619
2014-04-01 | 137732 | 328 | 391
2014-05-01 | 149133 | 120 | 1427
2014-06-01 | 153955 | 1 | 1133
2014-07-01 | 190679 | 1 | 853
2014-08-01 | 179537 | 5 | 1835
2014-09-01 | 169525 | 19927 | 964
2014-10-01 | 153548 | 2 | 638
2014-11-01 | 153416 | 587 | 514
2014-12-01 | 140636 | 1034 | 235
2015-01-01 | 153328 | 1581 | 505
2015-02-01 | 143416 | 1628 | 400
2015-03-01 | 155110 | 1035 | 619
2015-04-01 | 136364 | 276 | 391
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 1988666 | 26147 | 8751 | 0
13/14 Fisc. | 1982776 | 6692 | 8568 | 0
14/15 Fisc. | 1878647 | 26197 | 9514 | 0

## Architecture
Architecture
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 41736 | 37 | 56 | 9
2013-06-01 | 40767 | 46 | 112 | 1
2013-07-01 | 41806 | 23 | 82 | 0
2013-08-01 | 40897 | 20 | 77 | 4
2013-09-01 | 43064 | 15 | 154 | 4
2013-10-01 | 47498 | 70 | 139 | 169
2013-11-01 | 46877 | 241 | 218 | 505
2013-12-01 | 46102 | 255 | 157 | 849
2014-01-01 | 49310 | 295 | 246 | 1206
2014-02-01 | 48041 | 247 | 120 | 751
2014-03-01 | 50570 | 216 | 108 | 148
2014-04-01 | 48643 | 163 | 109 | 45
2014-05-01 | 39135 | 53 | 120 | 16
2014-06-01 | 36134 | 13 | 306 | 0
2014-07-01 | 37898 | 1 | 178 | 0
2014-08-01 | 36904 | 0 | 101 | 0
2014-09-01 | 40026 | 0 | 154 | 3
2014-10-01 | 45013 | 0 | 139 | 125
2014-11-01 | 46918 | 265 | 218 | 358
2014-12-01 | 46384 | 302 | 157 | 642
2015-01-01 | 47177 | 349 | 246 | 1006
2015-02-01 | 45521 | 325 | 108 | 1138
2015-03-01 | 49445 | 298 | 109 | 495
2015-04-01 | 45517 | 220 | 109 | 96
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 524976 | 1555 | 1956 | 3294
13/14 Fisc. | 545311 | 1628 | 1578 | 3691
14/15 Fisc. | 516072 | 1826 | 1945 | 3879

## St. Pats
St. Pats
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 153410 | 75 | 295 | 4698
2013-06-01 | 185158 | 70 | 452 | 3915
2013-07-01 | 240259 | 60 | 1806 | 3714
2013-08-01 | 232141 | 61 | 2403 | 3628
2013-09-01 | 148908 | 21 | 1926 | 3628
2013-10-01 | 97505 | 74 | 1707 | 3978
2013-11-01 | 75019 | 264 | 1503 | 6304
2013-12-01 | 72474 | 373 | 1273 | 5620
2014-01-01 | 79787 | 458 | 1166 | 4462
2014-02-01 | 79272 | 463 | 916 | 5413
2014-03-01 | 84614 | 364 | 160 | 3518
2014-04-01 | 83298 | 261 | 117 | 6228
2014-05-01 | 118662 | 74 | 321 | 3111
2014-06-01 | 179490 | 2 | 464 | 2831
2014-07-01 | 182996 | 0 | 575 | 2491
2014-08-01 | 160970 | 5 | 429 | 1918
2014-09-01 | 178719 | 679 | 561 | 2325
2014-10-01 | 96748 | 10 | 1707 | 3313
2014-11-01 | 76146 | 382 | 1503 | 4237
2014-12-01 | 74425 | 333 | 144 | 5859
2015-01-01 | 80656 | 445 | 217 | 5424
2015-02-01 | 77154 | 442 | 188 | 5913
2015-03-01 | 85313 | 335 | 366 | 4703
2015-04-01 | 82201 | 184 | 375 | 4441
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 1395127 | 3031 | 8063 | 45706
13/14 Fisc. | 1531845 | 2544 | 13724 | 55106
14/15 Fisc. | 1393480 | 2891 | 6850 | 46566

## Social Science
Social Science
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 10765 |  | 1113 | 2
2013-06-01 | 11645 |  | 1098 | 1
2013-07-01 | 14217 |  | 1143 | 7
2013-08-01 | 11752 |  | 1134 | 93
2013-09-01 | 9988 |  | 1092 | 93
2013-10-01 | 10354 |  | 1115 | 1217
2013-11-01 | 12179 |  | 1088 | 4030
2013-12-01 | 14283 |  | 610 | 5536
2014-01-01 | 15156 |  | 14 | 6749
2014-02-01 | 11743 |  | 1037 | 6053
2014-03-01 | 12376 |  | 1123 | 1446
2014-04-01 | 11019 |  | 1083 | 1118
2014-05-01 | 9386 |  | 1138 | 569
2014-06-01 | 10471 |  | 121 | 37
2014-07-01 | 10863 |  | 100 | 8
2014-08-01 | 9919 |  | 13 | 122
2014-09-01 | 10679 |  | 134 | 1
2014-10-01 | 10611 |  | 1115 | 505
2014-11-01 | 11611 |  | 770 | 3113
2014-12-01 | 13284 |  | 1101 | 4121
2015-01-01 | 15188 |  | 1101 | 6003
2015-02-01 | 13368 |  | 991 | 6856
2015-03-01 | 12038 |  | 1082 | 4012
2015-04-01 | 10325 |  | 1039 | 1704
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 137118 | 0 | 7749 | 23842
13/14 Fisc. | 145477 | 0 | 11650 | 26345
14/15 Fisc. | 137743 | 0 | 8705 | 27051

## Life Science
Life Science
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 94229 | 143 | 712
2013-06-01 | 112064 | 73 | 666
2013-07-01 | 145362 | 78 | 698
2013-08-01 | 127872 | 71 | 718
2013-09-01 | 95596 | 112 | 708
2013-10-01 | 86790 | 257 | 722
2013-11-01 | 81743 | 545 | 666
2013-12-01 | 84034 | 747 | 683
2014-01-01 | 88255 | 969 | 745
2014-02-01 | 74807 | 813 | 648
2014-03-01 | 78641 | 771 | 711
2014-04-01 | 75390 | 491 | 695
2014-05-01 | 93976 | 145 | 748
2014-06-01 | 112133 | 59 | 702
2014-07-01 | 118431 | 61 | 741
2014-08-01 | 118521 | 58 | 711
2014-09-01 | 100516 | 118 | 673
2014-10-01 | 87229 | 257 | 901
2014-11-01 | 83241 | 510 | 1063
2014-12-01 | 86129 | 717 | 691
2015-01-01 | 86746 | 1021 | 709
2015-02-01 | 77577 | 998 | 638
2015-03-01 | 83438 | 776 | 696
2015-04-01 | 79317 | 466 | 665
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 1117269 | 4969 | 9029 | 0
13/14 Fisc. | 1144783 | 5070 | 8372 | 0
14/15 Fisc. | 1127254 | 5186 | 8938 | 0

## Minto Case
Minto Case
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 326261 | 83 | 965
2013-06-01 | 303092 | 29 | 1480
2013-07-01 | 310619 | 24 | 994
2013-08-01 | 300359 | 39 | 852
2013-09-01 | 298311 | 37 | 1173
2013-10-01 | 311049 | 83 | 537
2013-11-01 | 277245 | 205 | 587
2013-12-01 | 297904 | 187 | 317
2014-01-01 | 302919 | 352 | 312
2014-02-01 | 280080 | 342 | 800
2014-03-01 | 322914 | 377 | 1358
2014-04-01 | 300649 | 346 | 1601
2014-05-01 | 294633 | 80 | 244
2014-06-01 | 281411 | 32 | 217
2014-07-01 | 297407 | 47 | 508
2014-08-01 | 289130 | 35 | 182
2014-09-01 | 289501 | 74 | 385
2014-10-01 | 293941 | 320 | 348
2014-11-01 | 285999 | 785 | 528
2014-12-01 | 293710 | 985 | 267
2015-01-01 | 297010 | 1231 | 369
2015-02-01 | 267519 | 1271 | 631
2015-03-01 | 313869 | 1128 | 844
2015-04-01 | 297842 | 784 | 792
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 3532294 | 3775 | 6750 | 0
13/14 Fisc. | 3631402 | 2104 | 10976 | 0
14/15 Fisc. | 3501972 | 6772 | 5315 | 0

## Azrieli TH
Azrieli Theatre
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 34279 | 1 | 0
2013-06-01 | 28140 | 0 | 0
2013-07-01 | 29838 | 0 | 0
2013-08-01 | 31784 | 0 | 1
2013-09-01 | 32899 | 0 | 0
2013-10-01 | 34881 | 5 | 1
2013-11-01 | 35511 | 57 | 1
2013-12-01 | 37591 | 146 | 1
2014-01-01 | 25091 | 175 | 1
2014-02-01 | 36515 | 262 | 1
2014-03-01 | 37453 | 62 | 0
2014-04-01 | 32876 | 7 | 1
2014-05-01 | 34279 | 3 | 0
2014-06-01 | 28140 | 0 | 1
2014-07-01 | 34983 | 0 | 1
2014-08-01 | 32005 | 0 | 0
2014-09-01 | 34741 | 0 | 0
2014-10-01 | 33037 | 0 | 0
2014-11-01 | 32060 | 0 | 1
2014-12-01 | 31494 | 75 | 0
2015-01-01 | 33116 | 175 | 0
2015-02-01 | 30812 | 62 | 1
2015-03-01 | 39669 | 62 | 0
2015-04-01 | 35760 | 7 | 0
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 392674 | 584 | 6 | 0
13/14 Fisc. | 396858 | 715 | 7 | 0
14/15 Fisc. | 400096 | 384 | 4 | 0

## Azrieli PL
Azrieli Pavilion
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 72553 | 1 | 30
2013-06-01 | 65802 | 10 | 101
2013-07-01 | 67146 | 0 | 29
2013-08-01 | 74236 | 0 | 33
2013-09-01 | 73652 | 0 | 64
2013-10-01 | 80258 | 10 | 76
2013-11-01 | 77253 | 65 | 79
2013-12-01 | 80849 | 151 | 45
2014-01-01 | 49626 | 245 | 35
2014-02-01 | 59337 | 396 | 54
2014-03-01 | 70616 | 268 | 70
2014-04-01 | 70600 | 112 | 55
2014-05-01 | 74351 | 11 | 41
2014-06-01 | 63169 | 0 | 30
2014-07-01 | 61165 | 0 | 26
2014-08-01 | 63118 | 0 | 25
2014-09-01 | 74750 | 0 | 68
2014-10-01 | 78983 | 0 | 78
2014-11-01 | 78528 | 0 | 78
2014-12-01 | 74876 | 80 | 61
2015-01-01 | 71334 | 245 | 69
2015-02-01 | 67430 | 245 | 65
2015-03-01 | 76825 | 268 | 92
2015-04-01 | 73799 | 112 | 64
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 819119 | 1112 | 621 | 0
13/14 Fisc. | 841928 | 1258 | 671 | 0
14/15 Fisc. | 858328 | 961 | 697 | 0

## Canal
Canal
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 106525 | 6 | 143
2013-06-01 | 208210 | 0 | 198
2013-07-01 | 287514 | 0 | 410
2013-08-01 | 249174 | 0 | 226
2013-09-01 | 214888 | 0 | 289
2013-10-01 | 198955 | 159 | 307
2013-11-01 | 83639 | 451 | 242
2013-12-01 | 78761 | 552 | 179
2014-01-01 | 81945 | 258 | 245
2014-02-01 | 78805 | 455 | 249
2014-03-01 | 91244 | 426 | 244
2014-04-01 | 87588 | 313 | 131
2014-05-01 | 191844 | 6 | 192
2014-06-01 | 244849 | 0 | 187
2014-07-01 | 247075 | 0 | 186
2014-08-01 | 243575 | 0 | 185
2014-09-01 | 233553 | 0 | 131
2014-10-01 | 174358 | 159 | 316
2014-11-01 | 92907 | 968 | 242
2014-12-01 | 80558 | 1107 | 179
2015-01-01 | 82463 | 562 | 197
2015-02-01 | 76469 | 117 | 249
2015-03-01 | 85595 | 859 | 302
2015-04-01 | 83244 | 160 | 268
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 1848301 | 3692 | 2487 | 0
13/14 Fisc. | 1767248 | 2620 | 2863 | 0
14/15 Fisc. | 1836490 | 3938 | 2634 | 0

## River
River
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 164079 | 409 | 118
2013-06-01 | 152112 | 384 | 116
2013-07-01 | 160953 | 383 | 188
2013-08-01 | 156127 | 378 | 99
2013-09-01 | 149247 | 391 | 267
2013-10-01 | 149331 | 406 | 292
2013-11-01 | 153152 | 458 | 285
2013-12-01 | 162383 | 600 | 154
2014-01-01 | 169199 | 662 | 254
2014-02-01 | 143677 | 545 | 244
2014-03-01 | 170062 | 546 | 238
2014-04-01 | 170074 | 540 | 200
2014-05-01 | 137625 | 409 | 177
2014-06-01 | 133429 | 367 | 121
2014-07-01 | 140726 | 369 | 124
2014-08-01 | 150825 | 361 | 95
2014-09-01 | 169406 | 391 | 370
2014-10-01 | 170958 | 469 | 268
2014-11-01 | 166848 | 552 | 266
2014-12-01 | 159956 | 650 | 146
2015-01-01 | 166736 | 855 | 227
2015-02-01 | 157962 | 875 | 214
2015-03-01 | 171367 | 690 | 428
2015-04-01 | 176172 | 480 | 439
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 1882785 | 5861 | 2503 | 0
13/14 Fisc. | 1900396 | 5702 | 2455 | 0
14/15 Fisc. | 1902010 | 6468 | 2875 | 0
Note on C20: Author: changed from: 10924

## Maintenance
Maintenance
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 93926 | 26 | 147
2013-06-01 | 89894 | 20 | 184
2013-07-01 | 105932 | 18 | 607
2013-08-01 | 113244 | 17 | 380
2013-09-01 | 103575 | 19 | 151
2013-10-01 | 109235 | 29 | 137
2013-11-01 | 125832 | 53 | 86
2013-12-01 | 118398 | 79 | 53
2014-01-01 | 125850 | 84 | 62
2014-02-01 | 130323 | 70 | 58
2014-03-01 | 132997 | 59 | 61
2014-04-01 | 112740 | 46 | 68
2014-05-01 | 115371 | 23 | 91
2014-06-01 | 97505 | 16 | 197
2014-07-01 | 96635 | 16 | 276
2014-08-01 | 97272 | 16 | 181
2014-09-01 | 91453 | 19 | 173
2014-10-01 | 63667 | 33 | 77
2014-11-01 | 91540 | 50 | 66
2014-12-01 | 128889 | 68 | 63
2015-01-01 | 162358 | 84 | 61
2015-02-01 | 127062 | 70 | 57
2015-03-01 | 138686 | 67 | 67
2015-04-01 | 116508 | 44 | 67
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 1284242 | 500 | 1373 | 0
13/14 Fisc. | 1361946 | 520 | 1994 | 0
14/15 Fisc. | 1326946 | 506 | 1376 | 0

## HCl-VSIM
HCl/VSIM
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 126488 | 15 | 79
2013-06-01 | 128738 | 1118 | 541
2013-07-01 | 140306 | 0 | 241
2013-08-01 | 139947 | 0 | 199
2013-09-01 | 108292 | 0 | 89
2013-10-01 | 106869 | 69 | 92
2013-11-01 | 111716 | 259 | 42
2013-12-01 | 109468 | 407 | 24
2014-01-01 | 112702 | 414 | 39
2014-02-01 | 102258 | 325 | 87
2014-03-01 | 137159 | 382 | 87
2014-04-01 | 133557 | 263 | 75
2014-05-01 | 126488 | 15 | 79
2014-06-01 | 128432 | 0 | 184
2014-07-01 | 140306 | 0 | 241
2014-08-01 | 139947 | 0 | 199
2014-09-01 | 108292 | 0 | 89
2014-10-01 | 106869 | 69 | 92
2014-11-01 | 119000 | 323 | 44
2014-12-01 | 103539 | 383 | 23
2015-01-01 | 107095 | 451 | 39
2015-02-01 | 104627 | 476 | 37
2015-03-01 | 118383 | 237 | 53
2015-04-01 | 120047 | 3 | 41
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 1458549 | 2174 | 1239 | 0
13/14 Fisc. | 1457500 | 3252 | 1595 | 0
14/15 Fisc. | 1423025 | 1957 | 1121 | 0

## RO CW & Graphics
Consumption by Month
.
January 01, 2012 to June 30, 2015
Occupied all days from 00:00 to 23:55
Meter |  |  | Total (kWh) | Occupied (kWh) | Max Demand (kW) | Min Demand (kW) | Avg Demand (kW)
2013-07
| HDLBRG_PRESS_01 |  | 304.52 | 304.34 | 93.31 | 0 | 0.47722
| HDLBRG_PRESS_02 |  | 235.67 | 235.53 | 24.52 | 0.01 | 0.36335
2013-08
| HDLBRG_PRESS_01 |  | 683.46 | 683.26 | 96.59 | 0 | 0.94451
| HDLBRG_PRESS_02 |  | 1036.03 | 1035.87 | 26.46 | 0.01 | 1.395
2013-09
| HDLBRG_PRESS_01 |  | 361.35 | 361.35 | 87.16 | 0 | 0.49468
| HDLBRG_PRESS_02 |  | 898.99 | 898.59 | 25.31 | 0.01 | 1.2362
2013-10
| HDLBRG_PRESS_01 |  | 906.25 | 905.84 | 94.4 | 0 | 1.2245
| HDLBRG_PRESS_02 |  | 1034.48 | 1034.3 | 26.66 | 0.01 | 1.3928
2013-11
| HDLBRG_PRESS_01 |  | 76.54 | 76.28 | 11.3 | 0 | 0.010953
| HDLBRG_PRESS_02 |  | 929.86 | 929.41 | 26.01 | 0.01 | 1.21
2013-12
| HDLBRG_PRESS_01 |  | 19.68 | 19.68 | 11.54 | 0 | 0.025015
| HDLBRG_PRESS_02 |  | 524.53 | 524.32 | 23.32 | 0.01 | 0.70161
2014-01
| HDLBRG_PRESS_01 |  | 13.02 | 13.02 | 12.55 | 0 | 0.018955
| HDLBRG_PRESS_02 |  | 698.68 | 698.5 | 23.8 | 0.01 | 0.9293
2014-02
| CHILLER1 |  | 0 | 0 | 0 | 0 | 0
| HDLBRG_PRESS_01 |  | 17.61 | 17.61 | 13.09 | 0 | 0.025281
| HDLBRG_PRESS_02 |  | 530.1 | 529.99 | 26.17 | 0.01 | 0.79418
2014-03
| CHILLER1 |  | 0 | 0 | 0 | 0 | 0
| HDLBRG_PRESS_01 |  | 82.35 | 82.35 | 13.04 | 0 | 0.1083
| HDLBRG_PRESS_02 |  | 946.6 | 946.48 | 24.77 | 0.01 | 1.268
2014-04
| CHILLER1 |  | 0 | 0 | 0 | 0 | 0
| HDLBRG_PRESS_01 |  | 9.9 | 9.9 | 12.32 | 0 | 0.013068
| HDLBRG_PRESS_02 |  | 374.28 | 374.02 | 24.62 | 0.01 | 0.50546
2014-05
| CHILLER1 |  | 531 | 530 | 6 | -1.78 | 0.69471
| HDLBRG_PRESS_01 |  | 51.93 | 51.93 | 13.88 | 0 | 0.068918
| HDLBRG_PRESS_02 |  | 615.97 | 615.87 | 24.35 | 0.01 | 0.85956
2014-06
| CHILLER1 |  | 1874 | 1870 | 6.05 | -1.27 | 2.5989
| HDLBRG_PRESS_01 |  | 59.71 | 59.71 | 13.83 | 0 | 0.084017
| HDLBRG_PRESS_02 |  | 707.1 | 707.01 | 26.08 | 0.01 | 0.9895
2014-07
| CHILLER1 |  | 2426 | 2414.5 | 7.54 | -1.56 | 3.2618
| HDLBRG_PRESS_01 |  | 6.5 | 6.5 | 12.18 | 0 | 0.0096225
| HDLBRG_PRESS_02 |  | 481.33 | 481.27 | 26.47 | 0.01 | 0.65354
2014-08
| CHILLER1 |  | 3864 | 3852 | 9.67 | -0.94 | 5.1956
| HDLBRG_PRESS_01 |  | 15.1 | 15.08 | 11.29 | 0 | 0.021882
| HDLBRG_PRESS_02 |  | 596.69 | 596.55 | 24.72 | 0.01 | 0.78243
2014-09
| CHILLER1 |  | 57651 | 57644 | 8.83 | -1.59 | 2.95
| HDLBRG_PRESS_01 |  | 97.22 | 97.2 | 14.36 | 0 | 0.13141
| HDLBRG_PRESS_02 |  | 1568.15 | 1568.14 | 25.6 | 0.01 | 2.187
2014-10
| CHILLER1 |  | 616 | 614 | 8.23 | -1.04 | 0.82689
| HDLBRG_PRESS_01 |  | 0 | 0 | 0 | 0 | 2.2401e-06
| HDLBRG_PRESS_02 |  | 789.4 | 789.31 | 25.22 | 0.01 | 1.0505
2014-11
| CHILLER1 |  | 0 | 0 | 0 | 0 | 0
| HDLBRG_PRESS_01 |  | 14.53 | 14.53 | 12.48 | 0 | 0.021709
| HDLBRG_PRESS_02 |  | 893.7 | 893.55 | 24.72 | 0.01 | 1.2652
2014-12
| CHILLER1 |  | 0 | 0 | 0 | 0 | 0
| HDLBRG_PRESS_01 |  | 223.95 | 223.95 | 12.55 | 0 | 0.30606
| HDLBRG_PRESS_02 |  | 640.7 | 640.7 | 24.96 | 0.01 | 0.85358
2015-01
| CHILLER1 |  | 0 | 0 | 0 | 0 | 0
| HDLBRG_PRESS_01 |  | 199.22 | 199.22 | 12.37 | 0 | 0.26941
| HDLBRG_PRESS_02 |  | 222.3 | 222.15 | 25.97 | 0.01 | 0.30129
2015-02
| CHILLER1 |  | 0 | 0 | 0 | 0 | 0
| HDLBRG_PRESS_01 |  | 0 | 0 | 0 | 0 | 1.2401e-06
| HDLBRG_PRESS_02 |  | 430.6 | 430.6 | 23.85 | 0.01 | 0.65671
2015-03
| CHILLER1 |  | 0 | 0 | 0 | 0 | 0
| HDLBRG_PRESS_01 |  | 0.01 | 0.01 | 0 | 0 | 1.1216e-05
| HDLBRG_PRESS_02 |  | 505.4 | 505.33 | 23.67 | 0.01 | 0.6802
2015-04
| CHILLER1 |  | 0 | 0 | 0 | 0 | 0
| HDLBRG_PRESS_01 |  | 9.98 | 9.98 | 12.78 | 0 | 0.042625
| HDLBRG_PRESS_02 |  | 540.2 | 539.52 | 25.55 | 0.01 | 0.98765
2015-05
| CHILLER1 |  | 1598 | 1591 | 9.1 | -1.32 | 2.1521
| HDLBRG_PRESS_01 |  | 4.43 | 4.43 | 10.48 | 0 | 0.0053293
| HDLBRG_PRESS_02 |  | 491.8 | 491.78 | 27.2 | 0.01 | 0.6548
2015-06
| CHILLER1 |  | 2874 | 2862 | 8.61 | -1.58 | 3.9946
| HDLBRG_PRESS_01 |  | 15.76 | 15.76 | 12.74 | 0 | 0.024758
| HDLBRG_PRESS_02 |  | 649.4 | 649.4 | 24.96 | 0.01 | 0.89633
Robertson Hall
chiller elec
Timestamp | RO Elec kWhr | RO Stm klbs | RO DW m3 | Group - Month
2012-01-01 |  | 817.62 | 432 | January |  | xx sq.ft | %
2012-02-01 |  | 764.32 | 357 | February |  | xx sq.ft | %
2012-03-01 |  | 510.04 | 423 | March
2012-04-01 |  | 338.66 | 349 | April
2012-05-01 |  | 32.3 | 682 | May
2012-06-01 |  | 9.94 | 2452 | June
2012-07-01 |  | 7.76 | 1874 | July
2012-08-01 |  | 5.99 | 1668 | August
2012-09-01 |  | 41.35 | 1843 | September
2012-10-01 |  | 217.32 | 1389 | October
2012-11-01 |  | 606.92 | 1260 | November
2012-12-01 |  | 800.29 | 327 | December
2013-01-01 |  | 868.23 | 268 | January
2013-02-01 |  | 732.44 | 184 | February
2013-03-01 |  | 734.31 | 194 | March
2013-04-01 |  | 569.52 | 211 | April
2013-05-01 |  | 6.11 | 1167 | May
2013-06-01 |  | 3.04 | 1848 | June
2013-07-01 |  | 3.61 | 812 | July
2013-08-01 |  | 3.63 | 714 | August
2013-09-01 |  | 3.02 | 415 | September
2013-10-01 |  | 100.83 | 264 | October
2013-11-01 |  | 427.7 | 194 | November
2013-12-01 |  | 783.81 | 147 | December
2014-01-01 |  | 841.99 | 203 | January
2014-02-01 |  | 603.83 | 178 | February
2014-03-01 |  | 684.85 | 199 | March
2014-04-01 |  | 226.8 | 191 | April
2014-05-01 |  | 24.02 | 496 | May
2014-06-01 | 1176.25 | 9.47 | 1782 | June
2014-07-01 | 2426.29 | 11.46 | 1092 | July
2014-08-01 | 3862.41 | 13.42 | 1044 | August
2014-09-01 | 2117.05 | 273.41 | 682 | September
2014-10-01 | 615.89 | 61.71 | 290 | October
2014-11-01 | 0 | 266.1 | 151 | November
2014-12-01 | 0 | 452.58 | 130 | December
2015-01-01 | 0 | 678.52 | 149 | January
2015-02-01 | 0 | 657.29 | 143 | February
2015-03-01 | 0 | 493.76 | 163 | March
2015-04-01 | 0 | 200.15 | 170 | April
2015-05-01 | 1597.66 | 4.93 | 645 | May
2015-06-01 | 481.4 | 0.56 | 147 | June

## Robertson
Robertson Hall
| Total building | Robertson office | Graphic press 1 | Graphic press 2 | RO Chiller kWh | Nesbitt Chiller kWh
Month | kWh | usage kWh |  |  |  |  | Steam (klbs/lb) | Water (m3) | Natural Gas (m3)
2013-05-01 | 241502 | [5 empty] | 6 | 1167
2013-06-01 | 239165 | [5 empty] | 3 | 1848
2013-07-01 | 329987 |  | 304.52 | 1036.03 |  |  | 4 | 812
2013-08-01 | 329900 | [5 empty] | 4 | 714
2013-09-01 | 234685 | [5 empty] | 3 | 415
2013-10-01 | 196811 | [5 empty] | 101 | 264
2013-11-01 | 166832 | [5 empty] | 428 | 194
2013-12-01 | 168385 | [5 empty] | 784 | 147
2014-01-01 | 177113 | [5 empty] | 842 | 203
2014-02-01 | 151268 | [5 empty] | 604 | 178
2014-03-01 | 198916 | [5 empty] | 734 | 194
2014-04-01 | 190232 | [5 empty] | 570 | 211
2014-05-01 | 220616 |  |  |  | 318.6 | 212.4 | 24 | 496
2014-06-01 | 302801 | [5 empty] | 9 | 1782
2014-07-01 | 324812 | [5 empty] | 11 | 1092
2014-08-01 | 312094 | [5 empty] | 13 | 1044
2014-09-01 | 251856 | [5 empty] | 10 | 682
2014-10-01 | 188685 | [5 empty] | 100 | 290
2014-11-01 | 157768 | [5 empty] | 266 | 151
2014-12-01 | 157565 | [5 empty] | 453 | 130
2015-01-01 | 150418 | [5 empty] | 679 | 149
2015-02-01 | 135849 | [5 empty] | 657 | 143
2015-03-01 | 162253 | [5 empty] | 494 | 163
2015-04-01 | 160805 | [5 empty] | 200 | 170
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 2633726 | [5 empty] | 3636 | 6453 | 0
13/14 Fisc. | 2624796 | [5 empty] | 4083 | 6347 | 0
14/15 Fisc. | 2525522 | [5 empty] | 2916 | 6292 | 0

## Rooftops
Rooftops
Month | Natural Gas (m3)
2013-05-01 | 28
2013-06-01 | 24
2013-07-01 | 8
2013-08-01 | 0
2013-09-01 | 0
2013-10-01 | 10
2013-11-01 | 251
2013-12-01 | 315
2014-01-01 | 406
2014-02-01 | 303
2014-03-01 | 296
2014-04-01 | 29
2014-05-01 | 6
2014-06-01 | 0
2014-07-01 | 0
2014-08-01 | 0
2014-09-01 | 0
2014-10-01 | 5
2014-11-01 | 77
2014-12-01 | 233
2015-01-01 | 450
2015-02-01 | 399
2015-03-01 | 232
2015-04-01 | 49
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 1355
13/14 Fisc. | 1670
14/15 Fisc. | 1451

## Grounds Shed
Grounds Shed
Month | Natural Gas (m3)
2013-05-01 | 86
2013-06-01 | 30
2013-07-01 | 0
2013-08-01 | 19
2013-09-01 | 19
2013-10-01 | 492
2013-11-01 | 2212
2013-12-01 | 4630
2014-01-01 | 3057
2014-02-01 | 3791
2014-03-01 | 2160
2014-04-01 | 1451
2014-05-01 | 181
2014-06-01 | 0
2014-07-01 | 0
2014-08-01 | 0
2014-09-01 | 79
2014-10-01 | 417
2014-11-01 | 2048
2014-12-01 | 3361
2015-01-01 | 3423
2015-02-01 | 4627
2015-03-01 | 2332
2015-04-01 | 1144
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 16545
13/14 Fisc. | 17947
14/15 Fisc. | 17612

## CHP
CHP
Month | kWh | Steam (klbs/lb) | Water (m3) | Natural Gas (m3) | Oil (litres)
2013-05-01 |  | 9792 | 1696 | 424409
2013-06-01 |  | 7737 | 1556 | 263081
2013-07-01 |  | 661 | 1642 | 251552
2013-08-01 |  | 6533 | 1616 | 292740
2013-09-01 |  | 9192 | 1654 | 292740
2013-10-01 |  | 15475 | 1638 | 550184
2013-11-01 |  | 30656 | 1645 | 1197449
2013-12-01 |  | 43382 | 1129 | 1185806 | 195649.2
2014-01-01 |  | 46802 | 1687 | 1159801 | 192991
2014-02-01 |  | 37566 | 1446 | 1316341
2014-03-01 |  | 33254 | 1555 | 1059718
2014-04-01 |  | 23711 | 1620 | 950911
2014-05-01 |  | 12171 | 1703 | 449564
2014-06-01 |  | 6711 | 1612 | 255461
2014-07-01 |  | 6675 | 1146 | 242062
2014-08-01 |  | 6677 | 1708 | 242374
2014-09-01 |  | 8336 | 1656 | 331691
2014-10-01 |  | 14959 | 1668 | 478855
2014-11-01 |  | 30316 | 1630 | 1006519
2014-12-01 |  | 37244 | 1699 | 1373988
2015-01-01 |  | 48782 | 1582 | 1550584
2015-02-01 |  | 46609 | 1608 | 1791910
2015-03-01 |  | 37808 | 845 | 1160028
2015-04-01 |  | 21993 | 1654 | 813181
2015-05-01
2015-06-01
2015-07-01
2015-08-01
2015-09-01
2015-10-01
2015-11-01
2015-12-01
2014 Total | 0 | 264422 | 19130 | 8867285 | 192991
13/14 Fisc. | 0 | 264761 | 18884 | 8944732 | 388640.2
14/15 Fisc. | 0 | 278281 | 18511 | 9696217 | 0