## Slide 1
Capstone Design Project: Mechatronic Dosimetry System (MEDS)
By Prof. Robin Chhabra, P.Eng. MEDS’s Project Manager March 22, 2022
Mechanical and Aerospace Engineering Department

## Slide 2: Outline
  History of MEDS
  Motivations of MEDS
  Objectives of MEDS
  Progress To Date
  Next Year’s Plans
  Team Structure

## Slide 3: History of MEDS
  Founded in 2021-2022
  In collaboration with Health Canada:
    Ionizing Radiation Physical Sciences Division (IRPSD): Dr. Sarah Cuddy-Walsh
    Ionizing Radiation Health Sciences Division (IRHSD): Dr. Lindsay Beaton-Green
  6 highly-motivated Carleton students

## Slide 4: Motivations of MEDS
  Many medical devices emit ionizing radiation for inspection, e.g., dental X-rays and cone-beam computed tomography
  Ionizing radiation can induce stochastic effects, such as hereditary disorders and cancer risks
Cone-beam CT system with a human head analogue phantom

## Slide 5: Motivations of MEDS
  Physical dosimetry: Quantifying ionizing radiation dose absorbed by an object
  Biological dosimetry: Quantifying genetic damage to biological tissues for a given ionizing radiation dose
  Consumer and Clinical Radiation Protection Bureau (CCRPB): Administration of the radiation emitting devices
  IRPSD & IRHSD assess, monitor and reduce health and safety risks

## Slide 6: Motivations of MEDS
  Measurements are performed by placing different human-body-analogue phantoms (normally made of PMMA) in the radiation field
(Left) cylindrical computed tomography dose index phantom. (Middle) head phantoms for newborn, 1-year-old, and 5-year-old children. (Right) skull phantom

## Slide 7: Motivations of MEDS
  Blood tubes and ion chambers are placed inside phantoms and the table is levelled manually
Existing ion chambers
Positioning table and the leveling mechanism

## Slide 8: Objectives of MEDS
  Goal: Design and develop robotic and manufacturing solutions for precise and repeatable radiation dosimetry systems.
  Objective 1: Design and manufacture phantoms that are biologically equivalent to human body and can contain both ion chambers or blood samples,
  Objective 2: Design and develop an automated robotic stage to allow for accurate phantom positioning in radiation domains.
  Objective 3: Validate the test facilities through comparing their results with Monte Carlo simulations.

## Slide 9: Progress To Date
  The ion chamber needs to fit snugly in the phantom
  Designed and 3D-printed phantom adapters from PMMA for Farmer chamber costing <$10 per adapter

## Slide 10: Progress To Date
  A four-degree-of-freedom robotic stage has been designed and assembled for automatic phantom positioning
  A four-degree-of-freedom robotic stage has been designed and assembled for automatic phantom positioning
Robotic stage includes:
Programmable translational and rotational motion

## Slide 11: Progress To Date
  3 translational DoF (XY:30cm, Z:40cm)
  1 rotational DoF (360 degrees)
  Load capacity: 40Kg
  Adjustable leveling caster wheels
  Tall PMMA stage to ensure 30cm clearance from metallic materials in radiation field
  Incremental and absolute positioning for testing

## Slide 12: Next Year’s Plans
  Developing full electromechanical model of the stage for path planning and control proposes
  Exhaustive testing and anomaly identification
  Automating levelling mechanism
  Adding control options
  Obstacle detection and mitigation
  Optimizing the power terrain
  Developing the emergency and homing protocols
  Linking controller to Monte Carlo simulation

## Slide 13: Team Structure
  Mechanics (2): refining mechanical design and manufacturing of pieces
  Electronics (2): improving sensory and power systems
  Software (3): improving path planning and control, and linking with Monte Carlo simulation platform
  Dynamics and Controls (1): dynamical analysis and control design
  Mechatronics (1): integration, assembly, and testing
  Biomechanics (2): radiation simulation and designing human-body-analogue phantoms

## Slide 14
  Thank You!
  Questions?
  Please do not hesitate to contact
  Email: robin.chhabra@carleton.ca