## Sheet1
eqnum | description | assetnum | location | LocDesc
1801 | Heating pump under the pool | P-15 | AC-LEVEL-1 | Level-1, Athletics Facilty
1802 | Heating pump under the pool | P-16 | AC-LEVEL-1 | Level-1, Athletics Facilty
1803 | Heating pump under the pool | P-17 | AC-LEVEL-1 | Level-1, Athletics Facilty
1804 | Heating pump under the pool | P-18 | AC-LEVEL-1 | Level-1, Athletics Facilty
1805 | Heating pump under the pool | P-19 | AC-LEVEL-1 | Level-1, Athletics Facilty
1806 | Heating pump under the pool | P-20 | AC-LEVEL-1 | Level-1, Athletics Facilty
1819 | Water Fountains-AC |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1824 | Expansion Tank-under pool |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1825 | Expansion Tank-under pool |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1826 | Expansion Tank-under pool |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1827 | Expansion Tank-under pool |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1842 | Pool Heat Exchanger, under pool |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1969 | FILTER PUMP # 2 |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1970 | FILTER PUMP # 1 |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1971 | DECTRON PUMP |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1972 | CONDENSATE PUMP |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1973 | HEAT CONVECTOR TRAINING POOL |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1974 | HEAT CONVECTOR # 2 |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1975 | HEAT CONVECTOR # 1 |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1976 | EXHAUST FAN # 30 |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1977 | EXHAUST FAN # 29 |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1978 | EXHAUST FAN # 31 |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1979 | COIL FAN - # 32 |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1980 | PUMP MAKE UP # 24 |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1981 | DOMESTIC HOT WATER REC. P-10 |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1982 | EXHAUST FAN NORTH SIDE |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1983 | EXHAUST FAN # 11 |  | AC-LEVEL-1 | Level-1, Athletics Facilty
1760 | Pool Exhaust Fan, Mech. Room, Rm 3110 | EF-O | AC-LEVEL-3 | Level-3, Athletics Facilty
1761 | Washroom exhaust, Mech. Room, Rm 3110 | EF1 | AC-LEVEL-3 | Level-3, Athletics Facilty
1774 | Pool Unit, Mechanical Room, Rm 3110 Supply | AHU-1 | AC-LEVEL-3 | Level-3, Athletics Facilty
1775 | Pool Unit, Mechanical Room, Rm 3110 Return | AHU-1 | AC-LEVEL-3 | Level-3, Athletics Facilty
1776 | Return Fan for Locker Room, Rm 3110 | AHU-2 | AC-LEVEL-3 | Level-3, Athletics Facilty
1777 | Supply Fan, Locker Room 3rd fl Rm 3110 | AHU-2 | AC-LEVEL-3 | Level-3, Athletics Facilty
1781 | Variable Volume 3101 Offices | VV-1 | AC-LEVEL-3 | Level-3, Athletics Facilty
1782 | Concourse Unit 3101, Hallway | CON-1 | AC-LEVEL-3 | Level-3, Athletics Facilty
1784 | Heating Coil Diffuser, Stairwell D, Top of Stairs |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1785 | Locker Room Heat Exchanger, Mech. Room, Rm 3110 |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1786 | Pool Heat Exchanger, Mech. Room, Rm 3110 |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1792 | Return Fan 3101 |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1795 | Dectron Unit-AC-RM3110 |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1799 | Exhaust Fan #5 Rm 3101 | EF-5 | AC-LEVEL-3 | Level-3, Athletics Facilty
1830 | Expansion Tank-3101AC |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1831 | Expansion Tank-3110 AC |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1839 | Glycol pump - Room 3110 AC |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1840 | Glycol pump - Room 3101 AC |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1851 | Variable Return Fan |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1852 | Expansion Tank Variable |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1853 | Chilled Pump P-17 |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1854 | Chilled Pump P-18 |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1855 | Chilled Water Recirculation Pump P-2 |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1856 | Chilled Pump P-19 |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1857 | Chilled Pump P-20 |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1858 | Concourse Exhaust Fan |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1859 | Exhaust Fan # 21 |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1860 | Coil Fan # 22 |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1862 | Heat Coil Under Window |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1864 | Glycol Expansion Tank # 3 |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1865 | Heat Pump # 1 |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1866 | Heat Pump # 2 |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1867 | Glycol Field Station |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1868 | Glycol Pump Field Station |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1869 | Expansion Tank # 1 |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1870 | Exhaust Fan # 2 |  | AC-LEVEL-3 | Level-3, Athletics Facilty
1762 | Exhaust Fan, Squash Court Rooftop | EF-9 | AC-ROOF | Roof, Athletics Facilty
1763 | Exhaust Fan, Squash Court Rooftop | EF-10 | AC-ROOF | Roof, Athletics Facilty
1764 | Exhaust Fan, Rooftop, Pool 1 |  | AC-ROOF | Roof, Athletics Facilty
1765 | Exhaust Fan, Rooftop, Pool 2 |  | AC-ROOF | Roof, Athletics Facilty
1766 | Exhaust Fan, Rooftop, Pool 3 |  | AC-ROOF | Roof, Athletics Facilty
1767 | Exhaust Fan, Rooftop, Pool 4 |  | AC-ROOF | Roof, Athletics Facilty
1768 | Exhaust Fan, Rooftop, Pool 5 |  | AC-ROOF | Roof, Athletics Facilty
1769 | Exhaust Fan, Rooftop, Pool 6 |  | AC-ROOF | Roof, Athletics Facilty
1770 | Exhaust Fan, Rooftop, Pool 7 |  | AC-ROOF | Roof, Athletics Facilty
1771 | Exhaust Fan, Rooftop, Pool 8 |  | AC-ROOF | Roof, Athletics Facilty
1772 | Fan Coil, Rooftop, Squash Court | RTV7 | AC-ROOF | Roof, Athletics Facilty
1773 | Fan Coil, Rooftop, Squash Court | RTV8 | AC-ROOF | Roof, Athletics Facilty
1778 | Chiller Rooftop, Above Rm 3101 | CH-3 | AC-ROOF | Roof, Athletics Facilty
1800 | Squash court rooftops 1-8 | RTU 1-8 | AC-ROOF | Roof, Athletics Facilty
1787 | Heat Exchanger, Rm 1448 Zone 4 Mechanical |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1793 | Mitsubishi, Mr. Slim, Front of Tim Horton's-AH |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1794 | Mitsubishi, Mr. Slim, back of Tim Horton's |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1820 | Water Fountains-Ah |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1878 | RM 1205(EXHAUST FAN) |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1879 | ELECTRIC HOT WATER TANK - 1206 |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1880 | RECIRCULATION PUMP # 14 |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1881 | EXHAUST FAN ROOFTOP |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1882 | COIL HEATER |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1883 | LOADING DOCK COIL HEATER |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1884 | COIL HEATER |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1885 | COIL HEATER |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1886 | RECIRCULATING PUMP |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1887 | HEATER COIL |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1888 | EXHAUST FAN |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1889 | RECIRCULATING PUMP |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1984 | HEAT PUMP # 2 |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1985 | HEAT PUMP # 1 Sport Theorpy |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1986 | HEAT PUMP # 2 Sport Theorpy |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1987 | HEAT PUMP # 3 Room 1110 F |  | AH-LEVEL-1 | Level-1, Alumni Hall & Sports Centre
1791 | Air Handling Unit, Rooftop of Gymnasium (south)-NF | RTU-1 | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1828 | Expansion Tank-Alumni Hall |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1841 | Glycol pump - 2nd floor mechanical room AH |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1844 | Hot water tank - Alumni Hall |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1845 | Methane Exhaust |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1846 | Exhaust Fan # 5 |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1847 | Exhaust Fan # 4 |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1848 | Exhaust Fan # 3 |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1849 | Exhaust Fan # 2 |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1850 | Exhaust Fan # 1 |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1871 | AHU # 3 |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1872 | Chilled Water P-01 |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1873 | Chilled Water P-02 |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1874 | Chilled Water P-3A |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1875 | Chilled Water P-3R |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1890 | HEAT PUMP- P-4A |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1891 | HEAT PUMP P-4B |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1892 | CONDENSATE PUMP -P-1 |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1893 | CONDENSATE PUMP P-2 |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1894 | HEAT EXCHANGER # 1 |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1895 | HEAT EXCHANGER # 2 |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1896 | GLYCOL FIELD STATION |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1897 | GLYCOL PUMP |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1898 | EXPANSION TANK # 1 |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1899 | EXPANSION TANK # 2 |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1900 | EXPANSION TANK # 3 |  | AH-LEVEL-2 | Level-2, Alumni Hall & Sports Centre
1755 | Air Handling Unit, Inside, Gymnasium | AHU-1 | AH-ROOF | Roof, Alumni Hall & Sports Centre
1756 | Air Handling Unit, Inside, Gymnasium | AHU-2 | AH-ROOF | Roof, Alumni Hall & Sports Centre
1757 | Chiller, Rooftop, Alumni Hall | CH-1 | AH-ROOF | Roof, Alumni Hall & Sports Centre
1758 | Chiller, Rooftop, Alumni Hall | CH-2 | AH-ROOF | Roof, Alumni Hall & Sports Centre
1798 | Exhaust Fan #1 Roof, Alumni | EF-1 | AH-ROOF | Roof, Alumni Hall & Sports Centre
1073 | Drinking Fountain Level 1 |  | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1074 | Exhaust Fan, Rm 167 | EF2 | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1075 | Heat Exchanger, Rm 167 | HX1 | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1076 | Heat Exchanger, Rm 167 | HX2 | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1077 | Heat pump, Room 161 | HPU#1 | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1078 | Circulating Pump, Rm 167 | CP-3 | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1079 | Circulating Pump, Rm 167 | CP-4 | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1080 | Circulating Pump for DHW, Rm 160 |  | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1081 | Condensing Pumps (2), Rm 167 | CP-5, CP-6 | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1082 | Glycol Pumps, Rm 167 | null | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1083 | Circulating Pump, Rm 160 | C-P-7 | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1084 | Circulating Pump, Rm 160 | C-P-8 | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1087 | Transfer & Glycol Pumps, Rm 160 |  | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1089 | Hot Water Tank, Rm 160 |  | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1090 | Hot Water Expansion Tank, Rm 167, Model B1317.65 | ET2 | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1091 | Expansion Tank, Rm 167, model B150865 | ET1 | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1092 | Glycol Holding Tank, Rm 167 | GT1 | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1093 | Cabinet Unit Heater, Tunnel Entrance |  | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1094 | Cabinet Unit Heater, Main Entrance |  | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1095 | Unit Heater, Rm 160 |  | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1116 | Sump Pump, Rm 160 | SP1 | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1737 | Circulating Pumps (2), Rm 167 | CP1/CP2 | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1738 | Glycol Pumps (2), Rm 167 | NULL | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1739 | Transfer Glycol Pumps (2), Rm 167 | NULL | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1743 | Expansion tank, Rm 160 | NULL | AP-LEVEL-1 | Level-1, Azrielli Pavillion
1096 | Heat Pump, Stairwell "A" 2nd floor | HPU#3 | AP-LEVEL-2 | Level-2, Azrielli Pavillion
1097 | Heat Pump, Quad Level, Rm 261 | HPU#2 | AP-LEVEL-2 | Level-2, Azrielli Pavillion
1098 | Cabinet Unit Heater, 2nd Floor Exit@Tory Bldg |  | AP-LEVEL-2 | Level-2, Azrielli Pavillion
1099 | Cabinet Unit Heater, 2nd floor, Stairwell |  | AP-LEVEL-2 | Level-2, Azrielli Pavillion
1100 | Drinking Fountain Level 2 |  | AP-LEVEL-2 | Level-2, Azrielli Pavillion
1101 | Heat Pump (2), 3rd level, Rm 361 | HPU#5.4 | AP-LEVEL-3 | Level-3, Azrielli Pavillion
1102 | Drinking Fountain Level 3 |  | AP-LEVEL-3 | Level-3, Azrielli Pavillion
1103 | Heat Pump (2), Stairwell 4th floor | HPU#7.8 | AP-LEVEL-4 | Level-4, Azrielli Pavillion
1105 | Heat Pump, 4th floor kitchen | HPU#6 | AP-LEVEL-4 | Level-4, Azrielli Pavillion
1106 | Drinking Fountain Level 4 |  | AP-LEVEL-4 | Level-4, Azrielli Pavillion
1107 | Air Handling Unit Rooftop | AHU1 | AP-ROOF | Roof, Azrielli Pavillion
1108 | Condensing Unit Rooftop |  | AP-ROOF | Roof, Azrielli Pavillion
1109 | Condensing Unit Rooftop |  | AP-ROOF | Roof, Azrielli Pavillion
1110 | Exhaust Fan, Rooftop | EF-1 | AP-ROOF | Roof, Azrielli Pavillion
1111 | Exhaust Fan, Rooftop | EF-3 | AP-ROOF | Roof, Azrielli Pavillion
1112 | Condensing Unit (Heat Pump Loops), Rooftop |  | AP-ROOF | Roof, Azrielli Pavillion
1113 | Drinking Fountains Level 1 |  | AT-LEVEL-1 | Level-1, Azrielli Theatre
1117 | Glycol Pump, Transfer Pump, Rm 421 |  | AT-LEVEL-1 | Level-1, Azrielli Theatre
1118 | Circulating Pump, Rm 112 | P-21 | AT-LEVEL-1 | Level-1, Azrielli Theatre
1119 | Glycol Pump, Rm 112 | P-22 | AT-LEVEL-1 | Level-1, Azrielli Theatre
1120 | Circulating Pump, Rm 112 | P-21A | AT-LEVEL-1 | Level-1, Azrielli Theatre
1121 | Circulating Pump, Rm 112 | P-23 | AT-LEVEL-1 | Level-1, Azrielli Theatre
1122 | Circulating Pumps, Rm 112 | P-24 | AT-LEVEL-1 | Level-1, Azrielli Theatre
1123 | Condensing Pumps, Rm 112 | P25/P26 | AT-LEVEL-1 | Level-1, Azrielli Theatre
1124 | Sump Pump, Rm 122 |  | AT-LEVEL-1 | Level-1, Azrielli Theatre
1125 | Holding Glycol Tank, Rm 112 |  | AT-LEVEL-1 | Level-1, Azrielli Theatre
1127 | Condensate Tank, Rm 112 |  | AT-LEVEL-1 | Level-1, Azrielli Theatre
1128 | Expansion Tank, Rm 112 | ET-2 | AT-LEVEL-1 | Level-1, Azrielli Theatre
1129 | Hot Water Tank, Rm 124, tank in ceiling |  | AT-LEVEL-1 | Level-1, Azrielli Theatre
1130 | Cabinet Unit Heather, Entrance "Canal Rideau" |  | AT-LEVEL-1 | Level-1, Azrielli Theatre
1131 | Cabinet Unit Heather, Entrance (Ceiling) |  | AT-LEVEL-1 | Level-1, Azrielli Theatre
1132 | Unit Heater, 1st floor stairwell "A" by exit door |  | AT-LEVEL-1 | Level-1, Azrielli Theatre
1133 | Cabinet Unit Heater, by the exit@Tory |  | AT-LEVEL-1 | Level-1, Azrielli Theatre
1134 | Cabinet Unit Heater, by Exit to Patio |  | AT-LEVEL-1 | Level-1, Azrielli Theatre
1744 | Fan Coil Unit, Hallway, main entrance | NULL | AT-LEVEL-1 | Level-1, Azrielli Theatre
1747 | Heat exchanger, rm 112 | NULL | AT-LEVEL-1 | Level-1, Azrielli Theatre
1748 | Heat exchanger, rm 112 | NULL | AT-LEVEL-1 | Level-1, Azrielli Theatre
1135 | Air Handling Unit, Rm 221 | AHU#1 | AT-LEVEL-2 | Level-2, Azrielli Theatre
1136 | Exhaust Fans, Rm 225 |  | AT-LEVEL-2 | Level-2, Azrielli Theatre
1139 | Circulating Pump, Rm 221 | T-P-7 | AT-LEVEL-2 | Level-2, Azrielli Theatre
1140 | Glycol Pump, Transfer Pump, Rm 221 |  | AT-LEVEL-2 | Level-2, Azrielli Theatre
1141 | Expansion Tank, Rm 221, Heat reclaim | ET-3 | AT-LEVEL-2 | Level-2, Azrielli Theatre
1142 | Glycol Tank, Rm 221 |  | AT-LEVEL-2 | Level-2, Azrielli Theatre
1143 | Unit Heater, Rm 225 |  | AT-LEVEL-2 | Level-2, Azrielli Theatre
1144 | Unit Heater, Rm 221 |  | AT-LEVEL-2 | Level-2, Azrielli Theatre
1145 | Transfer Fan Rm 225 and washroom exhaust fan |  | AT-LEVEL-2 | Level-2, Azrielli Theatre
1146 | Drinking Fountains Level 3 |  | AT-LEVEL-2 | Level-2, Azrielli Theatre
1750 | Humidifier, rm 221 | NULL | AT-LEVEL-2 | Level-2, Azrielli Theatre
1147 | Air Handling Unit, Rm 321 | AHU #2 | AT-LEVEL-3 | Level-3, Azrielli Theatre
1148 | Fan Coil Unit, Hallway, 3rd fl |  | AT-LEVEL-3 | Level-3, Azrielli Theatre
1149 | Unit Heater, Rm 321 |  | AT-LEVEL-3 | Level-3, Azrielli Theatre
1151 | Air Handling Unit, Rm 421 | AHU #3 | AT-LEVEL-4 | Level-4, Azrielli Theatre
1154 | Glycol Circulating Pump, Rm 421 | TP-8 | AT-LEVEL-4 | Level-4, Azrielli Theatre
1155 | Expansion Tank, Rm 421 | ET-4 | AT-LEVEL-4 | Level-4, Azrielli Theatre
1156 | Holding Glycol Tank, Rm 421 |  | AT-LEVEL-4 | Level-4, Azrielli Theatre
1157 | Unit Heater, Rm 421 |  | AT-LEVEL-4 | Level-4, Azrielli Theatre
1752 | Humidifier, rm 421 | NULL | AT-LEVEL-4 | Level-4, Azrielli Theatre
1754 | Air Handling Unit, Field House | AHU-1 | FH-LEVEL-1 | Level-1, Fieldhouse
1783 | Electric Unit Heater, Field House Entrance |  | FH-LEVEL-1 | Level-1, Fieldhouse
1796 | Exhaust Fan - Fieldhouse washrooms |  | FH-LEVEL-1 | Level-1, Fieldhouse
1823 | Water Fountains-FH |  | FH-LEVEL-1 | Level-1, Fieldhouse
1565 | Exhaust fan Room B-51 - Mechanical room - EF01 |  | FR-LEVEL-1 | Level 1, Frontenac
1566 | Exhaust fan Room B-53 - Mechanical room - EF02 |  | FR-LEVEL-1 | Level 1, Frontenac
1567 | Domestic hot water pump - Mechanical room |  | FR-LEVEL-1 | Level 1, Frontenac
1568 | Glycol Exp. Tank - heating - Mechanical room |  | FR-LEVEL-1 | Level 1, Frontenac
1569 | Heat exchanger - Mechanical room - HE01 |  | FR-LEVEL-1 | Level 1, Frontenac
1570 | Glycol heating pump - Mechanical room - P01 |  | FR-LEVEL-1 | Level 1, Frontenac
1571 | Glycol heating pump - Mechanical room - P02 |  | FR-LEVEL-1 | Level 1, Frontenac
1572 | Sump pump elevator - Mechanical room |  | FR-LEVEL-1 | Level 1, Frontenac
1573 | Sump pump storm pit - Mechanical room |  | FR-LEVEL-1 | Level 1, Frontenac
1574 | Cooling pump - Mechanical room - P1 |  | FR-LEVEL-1 | Level 1, Frontenac
1575 | Cooling pump - Mechanical room - P2 |  | FR-LEVEL-1 | Level 1, Frontenac
1576 | Glycol expansion tank cooling - Mechanical room |  | FR-LEVEL-1 | Level 1, Frontenac
1577 | Cooling plate heat exchanger - Mechanical room |  | FR-LEVEL-1 | Level 1, Frontenac
1578 | Pump - Room fan coils - Mechanical room - PU01 |  | FR-LEVEL-1 | Level 1, Frontenac
1579 | Pump - Room fan coils - Mechanical room - PU02 |  | FR-LEVEL-1 | Level 1, Frontenac
1556 | Force flow unit Room 200 - FF1.1 |  | FR-LEVEL-2 | Level 2, Frontenac
1557 | Force flow unit Room 200 - FF1.2 |  | FR-LEVEL-2 | Level 2, Frontenac
1558 | Unit heater Room 200 - UH1.1 |  | FR-LEVEL-2 | Level 2, Frontenac
1559 | Unit heater Room 200 - UH1.2 |  | FR-LEVEL-2 | Level 2, Frontenac
1560 | Force flow unit Room 250 - main entrance - FF1.5 |  | FR-LEVEL-2 | Level 2, Frontenac
1561 | Force flow unit Room 219 - Stairway A - FF1.6 |  | FR-LEVEL-2 | Level 2, Frontenac
1563 | Exhaust fan Room 200 - EF03 |  | FR-LEVEL-2 | Level 2, Frontenac
1564 | Exhaust fan Rooms 226 & 227 - EF01 |  | FR-LEVEL-2 | Level 2, Frontenac
1552 | Exhaust fan Rooms 327 & 326 - EF02 |  | FR-LEVEL-3 | Level 3, Frontenac
1553 | Exhaust fan Room 351, Laundry - EF05 |  | FR-LEVEL-3 | Level 3, Frontenac
1554 | Exhaust fan Rooms 300 & 302, TV lounge & chute - EF04 |  | FR-LEVEL-3 | Level 3, Frontenac
1555 | Fan coil unit, 6.1 & 6.2 Room 351 |  | FR-LEVEL-3 | Level 3, Frontenac
1549 | Exhaust fan Rooms 427 & 426 - EF03 |  | FR-LEVEL-4 | Level 4, Frontenac
1550 | Fan coil unit Room 451 |  | FR-LEVEL-4 | Level 4, Frontenac
1551 | Soffit Valves (East & West) |  | FR-LEVEL-4 | Level 4, Frontenac
1546 | Exhaust fan Rooms 527 & 526 - EF04 |  | FR-LEVEL-5 | Level 5, Frontenac
1548 | Fan coil unit Room 551 |  | FR-LEVEL-5 | Level 5, Frontenac
1544 | Exhaust fan Rooms 627 & 626 - EF05 |  | FR-LEVEL-6 | Level 6, Frontenac
1545 | Fan coil unit Room 651 |  | FR-LEVEL-6 | Level 6, Frontenac
1542 | Exhaust fan Rooms 727 & 726 - EF06 |  | FR-LEVEL-7 | Level 7, Frontenac
1543 | Fan Coil unit Room 751 |  | FR-LEVEL-7 | Level 7, Frontenac
1540 | Chiller |  | FR-ROOF | Roof, Frontenac
1541 | Rooftop air handler unit - RTU01 |  | FR-ROOF | Roof, Frontenac
1822 | Water Fountains-GY |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1913 | DECTRON UNIT |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1914 | NORTEC HUMIDIFIER |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1915 | COIL HEATER |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1916 | COIL HEATER |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1917 | GENERATOR ROOM |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1918 | HEAT COIL |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1919 | DOMESTIC HOT WATER TANK |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1920 | HEAT PUMP # 3.2 |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1921 | RETURN # 3.2 |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1928 | CLEAVER BROOK BOILER |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1929 | RECIRCULATING PUMP # 3 HEATING |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1930 | DOMESTIC HOT WATER TANK |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1931 | RECIRCULATING HOT WATER |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1932 | PUMP # 1 - HOT WATER HEATING |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1933 | RM. 1462- ELEVATOR PIT PUMP |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1934 | SOUTH END HALL-HEATER COACH'S END |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1935 | NORM FEN-HEATER-STAIRWELL SOUTH |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1936 | NORM FEN-HEATER-STAIRWELL WEST |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1937 | AHU # 1 -CYCLING RM. |  | GY-LEVEL-1 | Level-1, Norm Fenn Gymnasium
1876 | AHU # 1 |  | GY-LEVEL-2 | Level-2, Norm Fenn Gymnasium
1877 | AUH # 2 |  | GY-LEVEL-2 | Level-2, Norm Fenn Gymnasium
1902 | EXHAUST FAN # 1 |  | GY-LEVEL-2 | Level-2, Norm Fenn Gymnasium
1903 | EXHAUST FAN # 2 |  | GY-LEVEL-2 | Level-2, Norm Fenn Gymnasium
1905 | EXHAUST FAN # 4 |  | GY-LEVEL-2 | Level-2, Norm Fenn Gymnasium
1906 | EXHAUST FAN # 5 |  | GY-LEVEL-2 | Level-2, Norm Fenn Gymnasium
1907 | EXHAUST FAN # 6 |  | GY-LEVEL-2 | Level-2, Norm Fenn Gymnasium
1908 | EXHAUST FAN # 1- RM 2404 |  | GY-LEVEL-2 | Level-2, Norm Fenn Gymnasium
1909 | EXHAUST FAN # 2- RM 2410 |  | GY-LEVEL-2 | Level-2, Norm Fenn Gymnasium
1910 | CHILLER # 3.1-CONDENSOR |  | GY-ROOF | Roof, Norm Fenn Gymnasium
1911 | CHILLER # 3.2 |  | GY-ROOF | Roof, Norm Fenn Gymnasium
1912 | AHU # 3 |  | GY-ROOF | Roof, Norm Fenn Gymnasium
1807 | Lochinvar boiler # 1-IH Rm 1444 | B-1 | IH-LEVEL-1 | Level-1, Ice House
1808 | Lochinvar boiler # 2-IH Rm 1444 | B-2 | IH-LEVEL-1 | Level-1, Ice House
1809 | Heating pump-IH Rm 1444 | P-2 | IH-LEVEL-1 | Level-1, Ice House
1810 | Heating pump-IH Rm 1444 | P-3 | IH-LEVEL-1 | Level-1, Ice House
1811 | Heating pump-1H Rm 1401A | P-5 | IH-LEVEL-1 | Level-1, Ice House
1812 | Heating pump -1H Rm 1401A | P-6 | IH-LEVEL-1 | Level-1, Ice House
1813 | Circulating pump-1H Rm 1401A | P-16 | IH-LEVEL-1 | Level-1, Ice House
1817 | Exhaust Fan-IH Rm 1430 |  | IH-LEVEL-1 | Level-1, Ice House
1818 | Exhaust Fan-IH Rm 1430 |  | IH-LEVEL-1 | Level-1, Ice House
1821 | Water Fountains-IH |  | IH-LEVEL-1 | Level-1, Ice House
1829 | Expansion Tank-Ice House |  | IH-LEVEL-1 | Level-1, Ice House
1843 | Hot water tank - Ice House |  | IH-LEVEL-1 | Level-1, Ice House
1922 | ICE MACHINE - RM. 1436 |  | IH-LEVEL-1 | Level-1, Ice House
1923 | COILS (2) RM. 1460 |  | IH-LEVEL-1 | Level-1, Ice House
1924 | HALLWAY (1) COIL |  | IH-LEVEL-1 | Level-1, Ice House
1925 | COIL (1) OFFICIALS- RM. 1451 |  | IH-LEVEL-1 | Level-1, Ice House
1926 | COIL RM. 1455 |  | IH-LEVEL-1 | Level-1, Ice House
1938 | RM .1406-FAN COIL HEATER |  | IH-LEVEL-1 | Level-1, Ice House
1939 | RM. 1407-FAN COIL HEATER |  | IH-LEVEL-1 | Level-1, Ice House
1940 | RM. 1412-FAN COIL HEATER |  | IH-LEVEL-1 | Level-1, Ice House
1941 | RM. 1413-FAN COIL HEATER |  | IH-LEVEL-1 | Level-1, Ice House
1942 | RM. 1413G-FAN COIL HEATER |  | IH-LEVEL-1 | Level-1, Ice House
1943 | EXHAUST FAN - RM. 1446 |  | IH-LEVEL-1 | Level-1, Ice House
1944 | HEATING UNIT - RM. 1445 |  | IH-LEVEL-1 | Level-1, Ice House
1945 | PUMP # 5 - RM. 1445 |  | IH-LEVEL-1 | Level-1, Ice House
1946 | PUMP # 5 - RM. 1445 |  | IH-LEVEL-1 | Level-1, Ice House
1947 | PUMP # 1 - RM. 1445 |  | IH-LEVEL-1 | Level-1, Ice House
1948 | PUMP # 2 - RM. 1445 |  | IH-LEVEL-1 | Level-1, Ice House
1949 | PUMP # 3 - RM. 1445 |  | IH-LEVEL-1 | Level-1, Ice House
1950 | PUMP # 4 - RM. 1445 |  | IH-LEVEL-1 | Level-1, Ice House
1951 | EXPANSION TANK - RM. 1445 |  | IH-LEVEL-1 | Level-1, Ice House
1952 | PUMP # 7- RM. 1445 |  | IH-LEVEL-1 | Level-1, Ice House
1953 | PUMP BRINE - RM. 1445 |  | IH-LEVEL-1 | Level-1, Ice House
1954 | LOUVERS - RM. 1443 |  | IH-LEVEL-1 | Level-1, Ice House
1955 | TRANE HEATERS - RM. 1443 |  | IH-LEVEL-1 | Level-1, Ice House
1956 | RECIRCULATING PUMP - RM. 1443 |  | IH-LEVEL-1 | Level-1, Ice House
1957 | 3 DOMESTIC ELECTRIC BOILERS - 1448 |  | IH-LEVEL-1 | Level-1, Ice House
1958 | 4 LOCKNIVAR STORAGE TANKS- 1448 |  | IH-LEVEL-1 | Level-1, Ice House
1959 | EXPANSION TANK - RM. 1448 |  | IH-LEVEL-1 | Level-1, Ice House
1961 | COIL UNITS - 1440 |  | IH-LEVEL-1 | Level-1, Ice House
1962 | COIL UNITS - 1441 ( 2) |  | IH-LEVEL-1 | Level-1, Ice House
1927 | EXHAUST FAN RM. 2401 |  | IH-LEVEL-2 | Level-2, Ice House
1779 | Cooling Tower, Rooftop | IH-1 | IH-ROOF | Roof, Ice House
1780 | Humidifier, Rooftop between arenas (beside cooling tower) | 39417 | IH-ROOF | Roof, Ice House
1788 | Air Handling Units, Rooftop between arenas #1-IH | RTU-1 | IH-ROOF | Roof, Ice House
1789 | Air Handling Units, Rooftop units over offices, near front entrance #2-IH | RTU-2 | IH-ROOF | Roof, Ice House
1790 | Air Handling Unit, Rooftop unit #3-IH | RTU-3 | IH-ROOF | Roof, Ice House
1797 | Make-up Air Unit, Rooftop IH | MAU-1 | IH-ROOF | Roof, Ice House
1814 | Exhaust Fan-IH roof | EF-1.1 | IH-ROOF | Roof, Ice House
1815 | Exhaust Fan-IH roof | EF-2.1 | IH-ROOF | Roof, Ice House
1816 | Exhaust Fan-IH Ammonia Plant | EF-4.1 | IH-ROOF | Roof, Ice House
1963 | RINK "A" - SOUTH SIDE |  | IH-ROOF | Roof, Ice House
1964 | LOUVERS - SOUTH SIDE |  | IH-ROOF | Roof, Ice House
1965 | HALLWAY BETWEEN "A" & "B" |  | IH-ROOF | Roof, Ice House
1966 | RINK "B" - EXHAUSE FAN ( 2) |  | IH-ROOF | Roof, Ice House
1967 | RINK "B"- HEATING UNIT |  | IH-ROOF | Roof, Ice House
1968 | RINK "B" - LOUVERS |  | IH-ROOF | Roof, Ice House
1202 | Backflow Preventer |  | LE-LEVEL-1 | Level-1, Leeds House
1204 | Laundry Room Exhaust Fan Rm 116 | EF5 | LE-LEVEL-1 | Level-1, Leeds House
1206 | Transformer Room Exhaust, Rm 132 | EF8 | LE-LEVEL-1 | Level-1, Leeds House
1208 | Transfer Fan, Rm 132 | TF01-1 | LE-LEVEL-1 | Level-1, Leeds House
1209 | Loading Bay and washroom exhaust | EF03-1 | LE-LEVEL-1 | Level-1, Leeds House
1210 | Exhaust Classroom Washroom and Office 117 | EF4 | LE-LEVEL-1 | Level-1, Leeds House
1211 | Exhaust, Classroom 123 Lower roof | EF6 | LE-LEVEL-1 | Level-1, Leeds House
1212 | Exhaust, Classroom 128-129 Lower roof | EF7 | LE-LEVEL-1 | Level-1, Leeds House
1213 | Exhaust electrical and IT rooms, roof | EF9 | LE-LEVEL-1 | Level-1, Leeds House
1214 | Telecom, housekeeping elevator exhaust, Room 131 | EF2 | LE-LEVEL-1 | Level-1, Leeds House
1220 | Cabinet Heater, Main Entrance |  | LE-LEVEL-1 | Level-1, Leeds House
1221 | Cabinet Heater, 1st floor, Exit A |  | LE-LEVEL-1 | Level-1, Leeds House
1222 | Unit Heater, Garbage Room | UH1 | LE-LEVEL-1 | Level-1, Leeds House
1223 | Cabinet Heater, 1st floor Lobby |  | LE-LEVEL-1 | Level-1, Leeds House
1224 | Heaters, belt test, 8 3/4 x 23 3/4 x 1/2 |  | LE-LEVEL-1 | Level-1, Leeds House
1225 | Cabinet Heater, 2nd floor Stairwell "B" |  | LE-LEVEL-1 | Level-1, Leeds House
1226 | Cabinet Heater, Tunnel Entrance |  | LE-LEVEL-1 | Level-1, Leeds House
1227 | Heating for Storage Room 117 | UH2 | LE-LEVEL-1 | Level-1, Leeds House
1232 | DCW Booster Pumps | P1/P2 | LE-LEVEL-1 | Level-1, Leeds House
1233 | Elevator Pit Sump Pumps, Rm 132 |  | LE-LEVEL-1 | Level-1, Leeds House
1235 | Sump Pumps - 2 Units Room 117 |  | LE-LEVEL-1 | Level-1, Leeds House
1237 | Exhaust (x139) Kitchen |  | LE-LEVEL-1 | Level-1, Leeds House
1238 | Exhaust (x187) Washroom |  | LE-LEVEL-1 | Level-1, Leeds House
1239 | Return Air Fan | RAF 1 | LE-LEVEL-1 | Level-1, Leeds House
1720 | Sump pumps 2 units located in storage room 117 |  | LE-LEVEL-1 | Level-1, Leeds House
1721 | Sump pumps, garbage room |  | LE-LEVEL-1 | Level-1, Leeds House
1722 | Public washroom exhaust fan, room 119 | EF1 | LE-LEVEL-1 | Level-1, Leeds House
1724 | Fan coil unit, Rm 129 Kitchen |  | LE-LEVEL-1 | Level-1, Leeds House
1725 | Fan coil, Rm 134 |  | LE-LEVEL-1 | Level-1, Leeds House
1726 | Fan coil, Rm 135 |  | LE-LEVEL-1 | Level-1, Leeds House
1729 | Fan coil, Rm 123 |  | LE-LEVEL-1 | Level-1, Leeds House
1730 | Cabinet unit heater Stairwell B 1st floor |  | LE-LEVEL-1 | Level-1, Leeds House
1988 | Fan coils suites Heating/Cooling (x 193) |  | LE-LEVEL-1 | Level-1, Leeds House
1994 | Fan coils TV lounges |  | LE-LEVEL-1 | Level-1, Leeds House
2000 | DHW Heat tracing Cables, Rm 220, 629, Vault |  | LE-LEVEL-1 | Level-1, Leeds House
1242 | Exhaust Electrical/It Room 220-221 |  | LE-LEVEL-2 | Level-2, Leeds House
1244 | Cabinet Heater, 2nd floor, Stairwell "C" |  | LE-LEVEL-2 | Level-2, Leeds House
1245 | Exhaust (x139) Kitchen |  | LE-LEVEL-2 | Level-2, Leeds House
1246 | Exhaust (x187) Washroom |  | LE-LEVEL-2 | Level-2, Leeds House
1989 | Fan coils suites Heating/Cooling (x 193) |  | LE-LEVEL-2 | Level-2, Leeds House
1995 | Fan coils TV lounges |  | LE-LEVEL-2 | Level-2, Leeds House
2001 | DHW Heat tracing Cables, Rm 220, 629, Vault |  | LE-LEVEL-2 | Level-2, Leeds House
1251 | Exhaust Electrical/It Room 320 |  | LE-LEVEL-3 | Level-3, Leeds House
1252 | Exhaust (x139) Kitchen |  | LE-LEVEL-3 | Level-3, Leeds House
1253 | Exhaust (x187) Washroom |  | LE-LEVEL-3 | Level-3, Leeds House
1990 | Fan coils suites Heating/Cooling (x 193) |  | LE-LEVEL-3 | Level-3, Leeds House
1996 | Fan coils TV lounges |  | LE-LEVEL-3 | Level-3, Leeds House
2002 | DHW Heat tracing Cables, Rm 220, 629, Vault |  | LE-LEVEL-3 | Level-3, Leeds House
1257 | Exhaust Electrical/It Room 420-421 |  | LE-LEVEL-4 | Level-4, Leeds House
1258 | Exhaust (x139) Kitchen |  | LE-LEVEL-4 | Level-4, Leeds House
1259 | Exhaust (x187) Washroom |  | LE-LEVEL-4 | Level-4, Leeds House
1991 | Fan coils suites Heating/Cooling (x 193) |  | LE-LEVEL-4 | Level-4, Leeds House
1997 | Fan coils TV lounges |  | LE-LEVEL-4 | Level-4, Leeds House
2003 | DHW Heat tracing Cables, Rm 220, 629, Vault |  | LE-LEVEL-4 | Level-4, Leeds House
1263 | Exhaust Electrical/It Room 529-530 |  | LE-LEVEL-5 | Level-5, Leeds House
1264 | Exhaust (x139) Kitchen |  | LE-LEVEL-5 | Level-5, Leeds House
1265 | Exhaust (x187) Washroom |  | LE-LEVEL-5 | Level-5, Leeds House
1992 | Fan coils suites Heating/Cooling (x 193) |  | LE-LEVEL-5 | Level-5, Leeds House
1998 | Fan coils TV lounges |  | LE-LEVEL-5 | Level-5, Leeds House
2004 | DHW Heat tracing Cables, Rm 220, 629, Vault |  | LE-LEVEL-5 | Level-5, Leeds House
1271 | Exhaust Electrical/It Room 629-630 |  | LE-LEVEL-6 | Level-6, Leeds House
1272 | Exhaust (x139) Kitchen |  | LE-LEVEL-6 | Level-6, Leeds House
1273 | Exhaust (x187) Washroom |  | LE-LEVEL-6 | Level-6, Leeds House
1993 | Fan coils suites Heating/Cooling (x 193) |  | LE-LEVEL-6 | Level-6, Leeds House
1999 | Fan coils TV lounges |  | LE-LEVEL-6 | Level-6, Leeds House
2005 | DHW Heat tracing Cables, Rm 220, 629, Vault |  | LE-LEVEL-6 | Level-6, Leeds House
1277 | Heating Boiler #1 |  | LE-PENT | Pent, Leeds House
1278 | Heating Boiler #2 |  | LE-PENT | Pent, Leeds House
1279 | Heating Boiler #3 |  | LE-PENT | Pent, Leeds House
1280 | Domestic Hot Water Boiler #2 | DHW-2 | LE-PENT | Pent, Leeds House
1281 | Domestic Hot Water Boiler #1 | DHW-1 | LE-PENT | Pent, Leeds House
1282 | Air Handling Unit, |  | LE-PENT | Pent, Leeds House
1283 | Unit Heater #3, Boiler Room | UH3 | LE-PENT | Pent, Leeds House
1284 | Unit Heater #4, Boiler Room | UH4 | LE-PENT | Pent, Leeds House
1287 | Heat Exchanger Water to Glycol (AHU01, MUA01, MUA02 |  | LE-PENT | Pent, Leeds House
1288 | P1 Primary Heating Loop Circulator | P1 | LE-PENT | Pent, Leeds House
1289 | P2 Primary Heating Loop Circulator | P2 | LE-PENT | Pent, Leeds House
1290 | P3 Heating Boiler 01 Circulator | P3 | LE-PENT | Pent, Leeds House
1291 | P4 Heating Boiler 02 Circulator | P4 | LE-PENT | Pent, Leeds House
1292 | P5 Heating Boiler 03 Circulator | P5 | LE-PENT | Pent, Leeds House
1293 | P6 Hot Water Supply to Glycol Heat Exchanger | P6 | LE-PENT | Pent, Leeds House
1294 | P7 Hot Water Supply to Glycol Heat Exchanger | P7 | LE-PENT | Pent, Leeds House
1295 | P8 Suite VFC Supply Cooling/Heating | P8 | LE-PENT | Pent, Leeds House
1296 | P9 Suites VFC Supply Cooling/Heating | P9 | LE-PENT | Pent, Leeds House
1297 | P10 Heating Water Supply to UH | P10 | LE-PENT | Pent, Leeds House
1298 | P11 Heating Water Supply to UH | P11 | LE-PENT | Pent, Leeds House
1299 | P12 Glycol Loop Circulator | P12 | LE-PENT | Pent, Leeds House
1300 | P13 Glycol Loop Circulator | P13 | LE-PENT | Pent, Leeds House
1301 | Pump (Chilled Water Supply to AHU01) NOT IN SERVICE FEB09 | P14 | LE-PENT | Pent, Leeds House
1303 | Glycol Fill Station Pump (Glycol Storage Tank) |  | LE-PENT | Pent, Leeds House
1304 | Hot Water Circulating Pump, Penthouse | DP02 | LE-PENT | Pent, Leeds House
1305 | DHW Storage Tank |  | LE-PENT | Pent, Leeds House
1306 | DHW Storage Tank |  | LE-PENT | Pent, Leeds House
1307 | DHW Storage Tank |  | LE-PENT | Pent, Leeds House
1308 | DHW Expansion Tank |  | LE-PENT | Pent, Leeds House
1309 | Glycol Loop Expansion Tank |  | LE-PENT | Pent, Leeds House
1310 | Pressure Tank |  | LE-PENT | Pent, Leeds House
1733 | Transfer pump for glycol stoarage tank, penthouse |  | LE-PENT | Pent, Leeds House
1734 | Heating loop expasion tank penthouse |  | LE-PENT | Pent, Leeds House
1735 | Make-up water expansion tank penthouse |  | LE-PENT | Pent, Leeds House
1311 | McQuay Chiller, Roof | CH01-7 | LE-ROOF-MAIN | Roof-Main, Leeds House
1312 | Exhaust Fan, Rooftop - Garbage chute | EF11 | LE-ROOF-MAIN | Roof-Main, Leeds House
1313 | Air Handling Units, B-70, 4=24x24x4//4=24x | MAU01-7 | LE-ROOF-MAIN | Roof-Main, Leeds House
1314 | Air Handling Units, B-57, 1=24x24x2//1=24x | MAU02-7 | LE-ROOF-MAIN | Roof-Main, Leeds House
1723 | Exhaust fan TV lounges 1-6, Roof | EF10 | LE-ROOF-MAIN | Roof-Main, Leeds House
1315 | Air Handling Unit, 1st & 2nd floors, Rm 118 | AHU#1 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1317 | Refrigerated Air Dryer, Basement- This unit is CONTRACTED OUT |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1320 | Condensing Unit, Walk-in cooler, Rm 118 |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1322 | Dry Cooler (Between Greenhouse) |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1323 | Drinking Fountains, 2nd floor |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1324 | MCC Exhaust Fan, 16-33, Rm 118 | EF3 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1325 | Transfer Fan, Rm 104A | TF3 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1326 | Transfer Fan, Rom 105 | TF2 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1327 | Exhaust Fan, Greenhouse #14 | EF#16 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1328 | Exhaust Fans, Greenhouse #13 | EF14/EF15 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1329 | Heating Water Heat Exchanger, Rm 118 |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1330 | Domestic Hot Water Heat Exchanger, Rm 118 | #1 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1332 | Heat Exchanger, Crawl Space B |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1334 | Storm Pumps, Rm 104A, P-13/14 | P1 & P2 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1335 | Chilled Water Pump 16-41, Rm 118 | P6-7 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1336 | Heat Pump, Rm 118 Dectron |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1337 | Freight Elevator Pit Sump Pump, Rm 118 |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1338 | Condensate Pump P-19 & P20, Room 118 | P19/P20 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1339 | Condensate Pump 16-8, Rm 118 |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1340 | Storm Pump P3 & P4, Rm 118 | P-3,P-4 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1341 | Sewage pump P1, Rm 118 | P1 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1342 | Heating Water Circulator P-8, Rm 118 | P8 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1343 | Sewage Pump P2, Rm 188 | P2 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1344 | P17 (Well Pump), Rm 118 | P-17 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1345 | Preheat Coil Condensate Pump (16-17), Rm 118 |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1347 | Heating Water Circulator P-9, Rm 118 |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1348 | Circulating Pumps, Crawlspace A |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1349 | Return Fan 01, Rm 118 | RAF#1 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1686 | Air Handling Unit # 3, crawl space A | AHU 3 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1690 | Mechanical room Exhaust fan room 118 | EF1 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1691 | Transformer Vault exhaust fan, Rm 106 | EF 10 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1692 | Transformer Vault exhaust fan, Rm 106 | EF 11 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1696 | Domestic hot water circ. Pump, rm 118 |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1697 | Humidifier for AHU 1, rm 118 | HU 1 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1698 | Humidifier for AHU 1, rm 118 | HU 3 | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1701 | Distiller and pump, rm 118 |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1702 | Expansion tank, rm 118 |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1707 | Unit heater crawl spaces A, B, C |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1712 | Heat exchanger for growth chamber loop, rm 118 |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1713 | Expansion tank for growth chamber loop, rm 118 |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1714 | A/C unit room 113 |  | NB-LEVEL-1 | Level-1, Nesbitt Biology Building
1353 | Heat Pump, 2nd flr, Rm 216 |  | NB-LEVEL-2 | Level-2, Nesbitt Biology Building
1685 | Power vent louvers greenhouses |  | NB-LEVEL-2 | Level-2, Nesbitt Biology Building
1687 | Arctic Coolers Greenhouses |  | NB-LEVEL-2 | Level-2, Nesbitt Biology Building
1693 | Exhaust fan | EF 13 | NB-LEVEL-2 | Level-2, Nesbitt Biology Building
1694 | Exhaust fan greenhouse 12 | EF 17 | NB-LEVEL-2 | Level-2, Nesbitt Biology Building
1708 | Fan coil unit vestibule greenhouse |  | NB-LEVEL-2 | Level-2, Nesbitt Biology Building
1709 | Cabinet heater, rm 205 |  | NB-LEVEL-2 | Level-2, Nesbitt Biology Building
1710 | Cabinet Heater, Main Entrance |  | NB-LEVEL-2 | Level-2, Nesbitt Biology Building
1711 | Cabiner heater exit stair A |  | NB-LEVEL-2 | Level-2, Nesbitt Biology Building
1719 | Exhaust fan ceiling rm 241 |  | NB-LEVEL-2 | Level-2, Nesbitt Biology Building
1355 | Transfer Fan, Rom 302 | TF1 | NB-LEVEL-3 | Level-3, Nesbitt Biology Building
1356 | Exhaust Fan, Rooftop, Rm 330 |  | NB-LEVEL-3 | Level-3, Nesbitt Biology Building
1718 | Cabinet heater, rm 305 |  | NB-LEVEL-3 | Level-3, Nesbitt Biology Building
1357 | Air Handling Unit, Penthouse | AHU#2 | NB-PENT | Pent, Nesbitt Biology Building
1358 | Return Air Fan penthouse | RAF 4 | NB-PENT | Pent, Nesbitt Biology Building
1359 | General Exhaust Fan, Penthouse | EF2 | NB-PENT | Pent, Nesbitt Biology Building
1360 | Exhaust Fan, Penthouse | #12 | NB-PENT | Pent, Nesbitt Biology Building
1362 | Circulating Pump, Penthouse | P12 | NB-PENT | Pent, Nesbitt Biology Building
1689 | Condensing Unit walk-in cooler penthouse |  | NB-PENT | Pent, Nesbitt Biology Building
1695 | Glycol heat exchanger, penthouse |  | NB-PENT | Pent, Nesbitt Biology Building
1699 | Humidifier for AHU 2, penthouse | HU 2 | NB-PENT | Pent, Nesbitt Biology Building
1700 | Humidifier for AHU 4, penthouse | HU 4 | NB-PENT | Pent, Nesbitt Biology Building
1703 | Expansion tank, penthouse |  | NB-PENT | Pent, Nesbitt Biology Building
1705 | Unit heater penthouse entrance | UH 4.2 | NB-PENT | Pent, Nesbitt Biology Building
1706 | Unit heater penthouse | UH 4.1 | NB-PENT | Pent, Nesbitt Biology Building
1717 | Glycol tank, transfer pump, penthouse |  | NB-PENT | Pent, Nesbitt Biology Building
1364 | Air Handling Unit, Penthouse | AHU#4 | NB-ROOF-MAIN | Roof-Main, Nesbitt Biology Building
1365 | Fume hood Exhaust Fan, Rooftop | EF4 | NB-ROOF-MAIN | Roof-Main, Nesbitt Biology Building
1366 | Fume hood Exhaust Fan, Rooftop | EF5 | NB-ROOF-MAIN | Roof-Main, Nesbitt Biology Building
1367 | Fume hood (217) Exhaust Fan, Rooftop | EF6 | NB-ROOF-MAIN | Roof-Main, Nesbitt Biology Building
1368 | Fume hood (113B) Exhaust Fan, Rooftop | EF7 | NB-ROOF-MAIN | Roof-Main, Nesbitt Biology Building
1369 | Washroom Exhaust Fan, 2nd level, Rooftop | EF8 | NB-ROOF-MAIN | Roof-Main, Nesbitt Biology Building
1688 | Condensing Unit walk-in cooler lower roof |  | NB-ROOF-MAIN | Roof-Main, Nesbitt Biology Building
1371 | Drinking Fountains, Level 1 |  | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1372 | Exhaust Fan, Rm 111 | EF7 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1373 | Transfer Fan, Rm 111 | TF1.1 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1374 | Exhaust Fan, Flammable Storage Rm | EF #9 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1377 | Heat Exchanger, Rm 150 - Cold room slab | HE3 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1378 | Heat Exchanger, Rm 150 | HE-4 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1379 | Heat Exchanger, Rm 150 | HE 1 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1380 | Heating Circulating Pump, Rm 150 - Water | P-1 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1381 | Heating Circulating Pump, Rm 150 | P-2 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1382 | Condensate Pump, Rm 150 | P-16 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1383 | Condensate Pump, Rm 150 | P-17 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1384 | Sewage Pumps, Rm 150 | P-12, 13 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1385 | Storn Sewage pumps, Rm 150 | P-14, 15 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1386 | Domestic Hot Water Circ. Pump, Rm 150 | P-18 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1387 | Circulating Pump, Rm 150 ( cold slab loop ) | P-6 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1388 | Circulating Pump, Rm 150 ( flammable storage loop) | P-7 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1389 | Domestic Water Pump, Rm 111 | P-9, 10 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1390 | Heat Pump, Rm 128 | A/C 1.1 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1391 | Heat Pump, Rm 344 |  | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1392 | Condensate Tank, Rm 150 |  | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1393 | Glyco Tank, Rm 150 |  | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1394 | Expansion Tank, Rm 150 | ET1 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1395 | Hot Water Tank, Rm 150 |  | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1396 | Cabinet Heater, 1st floor exit |  | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1397 | Cabinet Heater, Main Entrance |  | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1398 | Unit Heater, Loading Dock - Ceiling mounted | UH1-1 | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1399 | Cabinet Heater, 1st fl, Stairwell D |  | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1674 | Heat pump, rm 160 |  | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1675 | Expansion tank , Rm 150 |  | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1676 | Transfer fan, loading dock |  | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1677 | A/C unit Fujitsu rm 150 |  | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1683 | Transfer fan room 128 |  | NW-LEVEL-1 | Level-1, National Wildlife Research Centre
1400 | Drinking Fountains, Every Floor | DF2 | NW-LEVEL-2 | Level-2, National Wildlife Research Centre
1664 | Blower in greenhouse |  | NW-LEVEL-2 | Level-2, National Wildlife Research Centre
1679 | Ex fan electrical room 2nd floor |  | NW-LEVEL-2 | Level-2, National Wildlife Research Centre
1401 | Drinking Fountains, Every Floor | DF3 | NW-LEVEL-3 | Level-3, National Wildlife Research Centre
1680 | Ex fan electrical room 3rd floor |  | NW-LEVEL-3 | Level-3, National Wildlife Research Centre
1402 | Drinking Fountains, Every Floor | DF4 | NW-LEVEL-4 | Level-4, National Wildlife Research Centre
1681 | Ex fan electrical room 4th floor |  | NW-LEVEL-4 | Level-4, National Wildlife Research Centre
1682 | Ex fan electrical room 5th floor |  | NW-LEVEL-5 | Level-5, National Wildlife Research Centre
1404 | Air Handling Unit, Penthouse | AHU1 | NW-PENT | Pent, National Wildlife Research Centre
1405 | Air Handling Unit, Penthouse | AHU2 | NW-PENT | Pent, National Wildlife Research Centre
1406 | Exhaust Fan, Penthouse |  | NW-PENT | Pent, National Wildlife Research Centre
1407 | Exchaust Fan, Penthouse |  | NW-PENT | Pent, National Wildlife Research Centre
1408 | Transfer Fan, Penthouse | TF6.1 | NW-PENT | Pent, National Wildlife Research Centre
1409 | Heat Exchanger, Penthouse |  | NW-PENT | Pent, National Wildlife Research Centre
1412 | Glycol Pump, Penthouse | P-3 | NW-PENT | Pent, National Wildlife Research Centre
1413 | Glycol Pump, Penthouse | P-5 | NW-PENT | Pent, National Wildlife Research Centre
1414 | Glycol Pump, Penthouse | P-4 | NW-PENT | Pent, National Wildlife Research Centre
1415 | Heat Reclaim Pump, Penthouse | P-8 | NW-PENT | Pent, National Wildlife Research Centre
1416 | Glycol Tank, Penthouse | OT-45 | NW-PENT | Pent, National Wildlife Research Centre
1417 | Expansion Tank (Heat Reclaimer), Penthouse | ET1 | NW-PENT | Pent, National Wildlife Research Centre
1418 | Expansion Tank, Penthouse | ET2 | NW-PENT | Pent, National Wildlife Research Centre
1419 | Expansion Tank, Penthouse | ET4 | NW-PENT | Pent, National Wildlife Research Centre
1420 | Unit Heater, Penthouse |  | NW-PENT | Pent, National Wildlife Research Centre
1671 | Humidifier, Penthouse | HU 1 | NW-PENT | Pent, National Wildlife Research Centre
1672 | Humidifier, Penthouse | HU 2 | NW-PENT | Pent, National Wildlife Research Centre
1673 | Reverse osmosis pump, Penthouse | P9 | NW-PENT | Pent, National Wildlife Research Centre
1684 | Return air fan | RAF1 | NW-PENT | Pent, National Wildlife Research Centre
1422 | Exhaust Hood, Rooftop (High Hazard | EF8 | NW-ROOF-MAIN | Roof-Main, National Wildlife Research Centre
1423 | Exhaust Fan, Rooftop | EF5 | NW-ROOF-MAIN | Roof-Main, National Wildlife Research Centre
1424 | Exhaust Fan, Rooftop | EF3 | NW-ROOF-MAIN | Roof-Main, National Wildlife Research Centre
1425 | Exhaust Fan, Rooftop - Washroom | EF6 | NW-ROOF-MAIN | Roof-Main, National Wildlife Research Centre
1426 | Exhaust Fan, Rooftop | EF2 | NW-ROOF-MAIN | Roof-Main, National Wildlife Research Centre
1427 | Exhaust Fan, Upper Rooftop | EF4 | NW-ROOF-PENT | Roof-Pent, National Wildlife Research Centre
1678 | Chiller, Roof |  | NW-ROOF-PENT | Roof-Pent, National Wildlife Research Centre
1428 | Air Handling Units, B-62 x 2, see long desc | AHU #1 | PH-LEVEL-1 | Level-1, Prescott House
1430 | Backflow Preventer, Rm 110A |  | PH-LEVEL-1 | Level-1, Prescott House
1431 | Air Conditioning Units, 10 x 20 x 1 |  | PH-LEVEL-1 | Level-1, Prescott House
1432 | Exhaust Fan, Rm 110A | EF11 | PH-LEVEL-1 | Level-1, Prescott House
1433 | Exhaust Fan, Garbage Room and chute, roof | EF4 | PH-LEVEL-1 | Level-1, Prescott House
1434 | Exhaust Fan, Electrical Rm 105 | EF2 | PH-LEVEL-1 | Level-1, Prescott House
1435 | Exhaust Fan,Washroom and storage Rm 105 | EF10 | PH-LEVEL-1 | Level-1, Prescott House
1436 | Exhaust Fan, Rm 107 |  | PH-LEVEL-1 | Level-1, Prescott House
1437 | Exhaust Fans, Steam Rm 108, Breaker 1A-18-Room 105 | EF12 | PH-LEVEL-1 | Level-1, Prescott House
1440 | Heat Exchanger, Rm 110A | HE #1 | PH-LEVEL-1 | Level-1, Prescott House
1441 | Heating & Cooling Circ. Pump, Rm 110A | P1 | PH-LEVEL-1 | Level-1, Prescott House
1442 | Heating & Cooling Circ. Pump, Rm 110A | P2 | PH-LEVEL-1 | Level-1, Prescott House
1443 | Heating & Cooling Circ. Pump, Rm 110A | P3 | PH-LEVEL-1 | Level-1, Prescott House
1444 | Heating Circ. Pump, Rm 110A | P05-1 | PH-LEVEL-1 | Level-1, Prescott House
1445 | Heating Circ. Pump, Rm 110A | P04-1 | PH-LEVEL-1 | Level-1, Prescott House
1446 | Chilled Water Circ. Pump, Rm 110A | P06-1 | PH-LEVEL-1 | Level-1, Prescott House
1447 | Chilled Water Circ. Pump, Rm 110A | P02-1 | PH-LEVEL-1 | Level-1, Prescott House
1448 | Heating Water Pump, Rm 110A | P01-1 | PH-LEVEL-1 | Level-1, Prescott House
1449 | Sump Pump, Rm 110B (Storm Pump) |  | PH-LEVEL-1 | Level-1, Prescott House
1450 | Sump Pumps, Rm 110B (Sewage Pump) |  | PH-LEVEL-1 | Level-1, Prescott House
1451 | Booster Pump, Rm 110B |  | PH-LEVEL-1 | Level-1, Prescott House
1452 | Condensing Pump, Rm 110A |  | PH-LEVEL-1 | Level-1, Prescott House
1453 | Return Air Fan, Rm 110A | #1 | PH-LEVEL-1 | Level-1, Prescott House
1454 | Expansion Tank, Rm 110A |  | PH-LEVEL-1 | Level-1, Prescott House
1456 | Cabinet Heater, Main Entrance |  | PH-LEVEL-1 | Level-1, Prescott House
1459 | Dryers Exhaust fan Laundry room |  | PH-LEVEL-1 | Level-1, Prescott House
1460 | Exhaust fan Public washroom | EF 6 | PH-LEVEL-1 | Level-1, Prescott House
1461 | Unit heater, Rm 107, Generator Room |  | PH-LEVEL-1 | Level-1, Prescott House
1462 | Exhaust fan 01-1, Rm 107 Generator Room | EF3 | PH-LEVEL-1 | Level-1, Prescott House
1463 | Battery pack emergency lights, Rm 107 |  | PH-LEVEL-1 | Level-1, Prescott House
1465 | Convection Heater, 2nd flr halls |  | PH-LEVEL-2 | Level-2, Prescott House
1466 | Exhaust Fan, 2nd fl, Rm 210 | EF05-2 | PH-LEVEL-2 | Level-2, Prescott House
1467 | Exhaust Fan, 2nd fl, Rm 204 | EF-08-2 | PH-LEVEL-2 | Level-2, Prescott House
1471 | Unit Heater, Rm 228, Garbage room |  | PH-LEVEL-2 | Level-2, Prescott House
1472 | Cabinet Heater, 2nd flr, Stairwell, "C"T |  | PH-LEVEL-2 | Level-2, Prescott House
1473 | Cabinet Heater, 2nd flr, Stairwell, "C" |  | PH-LEVEL-2 | Level-2, Prescott House
1474 | Cabinet Heater, 2nd flr, Stairwell, "B" (ceiling) |  | PH-LEVEL-2 | Level-2, Prescott House
1475 | Cabinet Heater, 2nd flr, Stairwell, "B" (entrance) |  | PH-LEVEL-2 | Level-2, Prescott House
1476 | Cabinet Heater, 2nd flr, Stairwell "A" |  | PH-LEVEL-2 | Level-2, Prescott House
1645 | Exhaust fan electrical room 2nd floor | EF7 | PH-LEVEL-2 | Level-2, Prescott House
1646 | Fan coil @ elevator, TV, study room, 2nd floor |  | PH-LEVEL-2 | Level-2, Prescott House
1652 | Fan coil room 202 | UV-1 | PH-LEVEL-2 | Level-2, Prescott House
1653 | Fan coil room 202 | UV-2 | PH-LEVEL-2 | Level-2, Prescott House
1477 | Convection Heater, 3rd flr halls |  | PH-LEVEL-3 | Level-3, Prescott House
1478 | Exhaust Fan, 3rd flr, Rm 308 IT room | EF05-3 | PH-LEVEL-3 | Level-3, Prescott House
1479 | Exhaust Fan, 3rd flr, Rm 305 | EF08-3 | PH-LEVEL-3 | Level-3, Prescott House
1647 | Fan coil @ elevator, TV, study room, 3rd floor |  | PH-LEVEL-3 | Level-3, Prescott House
1481 | Convection Heater, 4th flr halls |  | PH-LEVEL-4 | Level-4, Prescott House
1482 | Exhaust Fan, 4th flr, Rm 408 | EF05-4 | PH-LEVEL-4 | Level-4, Prescott House
1483 | Exhaust Fan, 4th flr, Rm 405 | EF08-4 | PH-LEVEL-4 | Level-4, Prescott House
1648 | Fan coil @ elevator, TV, study room, 4th floor |  | PH-LEVEL-4 | Level-4, Prescott House
1485 | Convection Heater, 5th flr halls |  | PH-LEVEL-5 | Level-5, Prescott House
1486 | Exhaust Fan, 5th flr, Rm 508 | EF05-5 | PH-LEVEL-5 | Level-5, Prescott House
1487 | Exhaust Fan, 5th flr, Rm 505 | EF08-5 | PH-LEVEL-5 | Level-5, Prescott House
1649 | Fan coil @ elevator, TV, study room, 5th floor |  | PH-LEVEL-5 | Level-5, Prescott House
1489 | Convection Heater, 6th flr halls |  | PH-LEVEL-6 | Level-6,Prescott House
1490 | Exhaust Fan, 6th flr, Rm 608 | EF05-6 | PH-LEVEL-6 | Level-6,Prescott House
1491 | Exhaust Fan, 6th flr, Rm 605 | EF08-0 | PH-LEVEL-6 | Level-6,Prescott House
1650 | Fan coil @ elevator, TV, study room, 6th floor |  | PH-LEVEL-6 | Level-6,Prescott House
1493 | Convection Heater, 7th flr halls |  | PH-LEVEL-7 | Level-7, Prescott House
1494 | Exhaust Fan, 7th flr, Rm 708 | EF05-7 | PH-LEVEL-7 | Level-7, Prescott House
1495 | Exhaust Fan, 7th flr, Rm 705 | EF08-7 | PH-LEVEL-7 | Level-7, Prescott House
1651 | Fan coil @ elevator, TV, study room, 7thfloor |  | PH-LEVEL-7 | Level-7, Prescott House
1498 | Heat Exchanger | HX2 | PH-PENT | Pent, Prescott House
1499 | Hot Water Heater, Penthouse | DHW-2 | PH-PENT | Pent, Prescott House
1500 | Hot Water Heater, Penthouse | DHW-1 | PH-PENT | Pent, Prescott House
1501 | Chilled Water Pump, Penthouse | P09-1 | PH-PENT | Pent, Prescott House
1502 | Chilled Water Pump, Penthouse | #10 | PH-PENT | Pent, Prescott House
1503 | Glycol Circ. Pump, Penthouse | P-11b | PH-PENT | Pent, Prescott House
1504 | D.H.W. Circ. Pump, Penthouse |  | PH-PENT | Pent, Prescott House
1505 | Glycol Pump, Penthouse | P-12 | PH-PENT | Pent, Prescott House
1506 | Glycol Tank, Penthouse | GT1 | PH-PENT | Pent, Prescott House
1507 | Expansion Tank, ( Mau-Loop), Penthouse |  | PH-PENT | Pent, Prescott House
1508 | Expansion Tank ( DHW - Loop), Penthouse |  | PH-PENT | Pent, Prescott House
1509 | Suspended Unit Heater, Penthouse |  | PH-PENT | Pent, Prescott House
1657 | Glycol transfer pump penthouse |  | PH-PENT | Pent, Prescott House
1658 | Expansion tank, chilled water penthouse |  | PH-PENT | Pent, Prescott House
1659 | Hot water tanks, penthouse |  | PH-PENT | Pent, Prescott House
1510 | Air Handling Unit, Rooftop | MAU1 | PH-ROOF-MAIN | Roof-Main, Prescott House
1511 | Air Handling Unit, Rooftop | MAU2 | PH-ROOF-MAIN | Roof-Main, Prescott House
1512 | Roof Top Chiller, Roof |  | PH-ROOF-MAIN | Roof-Main, Prescott House
1513 | Exhaust Fan Housekeeping, Rooftop | EF9 | PH-ROOF-MAIN | Roof-Main, Prescott House
1514 | Force Flow Heater, 1st floor next to Rm 111 |  | VS-LEVEL-1 | Level-1,Visualization and Simulation Building
1602 | Exhaust fan fume hoods | F7 | VS-LEVEL-1 | Level-1,Visualization and Simulation Building
1603 | Exhaust fan electr./IT level 1, 1281, 1184 | F1-1/F1-2 | VS-LEVEL-1 | Level-1,Visualization and Simulation Building
1609 | Heat pump original, Rm 1183 | AC1-1 | VS-LEVEL-1 | Level-1,Visualization and Simulation Building
1610 | Heat pump original, Rm 1219 | AC1-2 | VS-LEVEL-1 | Level-1,Visualization and Simulation Building
1615 | Canatal unit, Rm 1217 | AC1-4 | VS-LEVEL-1 | Level-1,Visualization and Simulation Building
1617 | Canatal unit, Rm 1214 | AC3-1 | VS-LEVEL-1 | Level-1,Visualization and Simulation Building
1624 | HCI elevator pit pump, beside 1281 | P22 | VS-LEVEL-1 | Level-1,Visualization and Simulation Building
1625 | Vsim elevator pit pump, beside 1281 | P23 | VS-LEVEL-1 | Level-1,Visualization and Simulation Building
1626 | Elevator sump pump 1191 B | P24 | VS-LEVEL-1 | Level-1,Visualization and Simulation Building
1639 | Force flow heater, 1st floor main entrance | 1_2 | VS-LEVEL-1 | Level-1,Visualization and Simulation Building
1515 | Air Handling Unit #1, 2nd floor |  | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1516 | Air Handling Unit #2, 2nd floor |  | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1517 | Fan #5, Chiller Room, 2nd floor | F5 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1518 | Fan #6, Chiller Room, 2nd floor | F6 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1519 | Chilled Water Pump #1, 2nd floor | P-1 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1520 | Chilled Water Pump #2, 2nd floor | P-2 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1521 | Chilled Water Pump #3, 2nd floor | P-3 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1522 | Chilled Water Pump #4, 2nd floor | P-4 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1524 | Condensate Water Pump #6, 2nd floor | P6 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1525 | Hot Water Pump #9, Pump Room, 2nd floor | P9 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1526 | Hot Water Pump #10, Pump Room, 2nd floor | P10 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1527 | Glycol Pump #11, Pump Room, 2nd floor | P-11 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1528 | Glycol Pump #12, Pump Room, 2nd floor | P-12 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1529 | Domestic Water Booster Pump #15, Pump Room, 2nd floor | P-15 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1530 | Domestic Water Booster Pump #16, Pump Room, 2nd floor | P-16 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1531 | Booster Pump #19, Pump Room, 2nd floor |  | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1532 | Condensate Pump #25, Pump Room, 2nd floor | P25 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1533 | Condensate Pump #26, Pump Room, 2nd floor | P26 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1534 | Chiller Mechanical Room, 2nd floor |  | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1535 | Force Flow Heater, 2nd floor at entrance from Loeb Bldg |  | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1604 | Exhaust fan electr./IT level 2, 2183, 2184 | F2-1/F2-2 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1605 | Exhaust fan electr./IT level 3, 3281, 3225 | F3-1/F3-2 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1606 | Exhaust fan electr./IT level 4, 4281, 4219 | F4-1/F4-2 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1607 | Exhaust fan electr./IT level 5, 5281, 5223 | F5-1/F5-2 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1608 | Exhaust fan electr./IT level 6, 6281, 6223 | F6-1/F6-2 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1614 | Canatal unit, Rm 2118 | AC1-1 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1616 | Canatal unit, Rm 2118 | AC2-1 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1620 | Circulating pump # 7, 2nd floor | P7 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1621 | Circulating pump # 8, 2nd floor | P8 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1622 | Glycol pump # 13, 2nd floor | P13 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1623 | Glycol pump # 14, 2nd floor | P14 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1627 | Glycol holding tank + pump,2nd floor |  | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1628 | Expansion tank, 2nd floor |  | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1631 | Unit heater, 2nd floor | UH1 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1632 | Unit heater, 2nd floor | UH2 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1633 | Unit heater, 2nd floor | UH3 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1634 | Unit heater, Chiller room 2nd floor | UH4 | VS-LEVEL-2 | Level-2, Visualization and Simulation Building
1611 | Heat pump original, Rm 3224 | AC1-3 | VS-LEVEL-3 | Level-3, Visualization and Simulation Building
1635 | Unit heater, 3rd floor | UH5 | VS-LEVEL-3 | Level-3, Visualization and Simulation Building
1636 | Unit heater, 3rd floor | UH6 | VS-LEVEL-3 | Level-3, Visualization and Simulation Building
1637 | Unit heater, 3rd floor | UH7 | VS-LEVEL-3 | Level-3, Visualization and Simulation Building
1638 | Unit heater, 3rd floor | UH8 | VS-LEVEL-3 | Level-3, Visualization and Simulation Building
1640 | Force flow heater, 3rd floor | 3_1 | VS-LEVEL-3 | Level-3, Visualization and Simulation Building
1618 | Canatal unit, Rm 4217 | AC4-1 | VS-LEVEL-4 | Level-4, Visualization and Simulation Building
1619 | Canatal unit, Rm 4217 | AC4-2 | VS-LEVEL-4 | Level-4, Visualization and Simulation Building
1641 | Force flow heater, 4th floor | 4_1 | VS-LEVEL-4 | Level-4, Visualization and Simulation Building
1642 | Force flow heater, 4th floor | 4_2 | VS-LEVEL-4 | Level-4, Visualization and Simulation Building
1643 | Force flow heater, 4th floor | 4_3 | VS-LEVEL-4 | Level-4, Visualization and Simulation Building
1644 | Force flow heater, 4th floor | 4_4 | VS-LEVEL-4 | Level-4, Visualization and Simulation Building
1612 | Heat pump original, Level 7 elevator room | AC7-1 | VS-LEVEL-7 | Level-6, Visualization and Simulation Building
1613 | Heat pump original, Level 7 elevator room | AC7-2 | VS-LEVEL-7 | Level-6, Visualization and Simulation Building
1536 | Dry Cooler, Roof Top | n/a | VS-ROOF-MAIN | Roof Main, Visualization and Simulation Building
1537 | Exhaust fan, washroom HCI, Roof | F3 | VS-ROOF-MAIN | Roof Main, Visualization and Simulation Building
1600 | Dry Cooler # 2, Roof Top | n/a | VS-ROOF-MAIN | Roof Main, Visualization and Simulation Building
1601 | Exhaust fan, washroom Vsim, Roof | F4 | VS-ROOF-MAIN | Roof Main, Visualization and Simulation Building
1630 | Cooling tower roof |  | VS-ROOF-MAIN | Roof Main, Visualization and Simulation Building